## New
Evaluation Model for Solicitation Number N19-RFQ-035 E-Rate
| CTS to Complete | [9 empty] | Vendor To Complete
[8 empty] | Scoring | [7 empty] | Supplemental Bandwidth Examples (M) See Section 4 of the RFQ | [9 empty] | Evaluation Values
| Site Name | Site Address | Site Contact(s) | Service to terminate to this location: | Floor Map Included (Y/N) | Guaranteed Install Interval (days) | Initial Proposed Bandwidth | Timeline Points | Cost Points | Special Mandatory Requirements- (such as special term length, E-rate site, background check needed, optical handoff type, diverse path, site survey required, etc.) | (M) Vendor shall commit to the requested Install Interval | (MS) If Vendor can commit to a shorter Install Interval, please state the number of days. | (M) Local loop type to the site address (fiber, copper, or fixed wireless) | (MS) MRC | (MS) NRC | MRC (20M): | NRC (20M): | Estimated upgrade Install Interval for the upgrade to (20M): | MRC (100M) | NRC (100M): | Estimated upgrade Install Interval for the upgrade to (100M): | MRC (1G) | NRC (1G): | Estimated upgrade Install Interval for the upgrade to (1G): | (M) Vendor Response to Special Mandatory Requirements- Vendors shall check the box if they have read, understood and will comply. | Timeline | Cost | Timeline Points | Cost Points
1 | Example1234 | 1500 Lincoln Ave SW Olympia, WA 98504 | Mr. John Doe 360-555-1234 email@email.com | 2nd Floor, NE Corner, utility closet next to room 224 | YES | 120 | 10M | 10 | 90 | 1. The Vendor shall: | Yes | 20 | Fiber | 500 | 1000 | 500 | 1000 | 20 | 1000 | 5000 | 20 | 1800 | 10000 | 45 |  | 20 | 13000 | 10 | 90
2 | DSHS6045 | 11 Youth Camp Lane HCR 78 Box 200 Naselle WA 98638 | Eric Dyson dysones@dshs.wa.gov 360-791-4849 Building contact: Dan Vaughn 360-484-3223 x239 | Demarc to be located no further than 10 feet of DSHS router. | NO | 150 | 100M | 5 | 95 | Vendors must be escorted at this site. Vendor shall provide, in initial response, proposed design for how the service is to be delivered to the site to include the complete physical route from the vendor’s equipment in the SDC to the vendor’s POP at the customer’s site. |  |  |  |  | 0 | [10 empty] | 150 | 0 | 5 | 95
3 | DSHS4032 | 33010 SE 99th Snoqualmie WA 98065 | Rocco Volker volkerm@dshs.wa.gov 206-639-6032 206-714-3248 Building contact: Terry Olson 425-831-2500 | Demarc to be located no further than 10 feet of DSHS router. | NO | 150 | 100M | 5 | 95 | Vendors must be escorted at this site. Vendor shall provide, in initial response, proposed design for how the service is to be delivered to the site to include the complete physical route from the vendor’s equipment in the SDC to the vendor’s POP at the customer's site. | Yes |  | Fiber | 999 | 0 | [6 empty] | 1950 | 0 | 60 | read, understood and will comply. | 150 | 23976 | 5 | 95
4 | DSHS2032 | 1726 Jerome Ave Yakima WA 98902 | Robert Riddick riddirf@dshs.wa.gov 509-220-1931 Building contact: LeeAnn Delk 509-575-2736 | Demarc to be located no further than 10 feet of DSHS router. | NO | 150 | 100M | 5 | 95 | Vendors must be escorted at this site. Vendor shall provide, in initial response, proposed design for how the service is to be delivered to the site to include the complete physical route from the vendor’s equipment in the SDC to the vendor’s POP at the customer's site. |  |  |  |  | 0 | [10 empty] | 150 | 0 | 5 | 95
5 | DSHS4034 | 14521 124th Ave NE Kirkland WA 98034 | Rocco Volker volkerm@dshs.wa.gov 206-639-6032 206-714-3248 Building contact: Jeremy Ludwig 425-483-2819 | Demarc to be located no further than 10 feet of DSHS router. | NO | 150 | 100M | 5 | 95 | Vendors must be escorted at this site. Vendor shall provide, in initial response, proposed design for how the service is to be delivered to the site to include the complete physical route from the vendor’s equipment in the SDC to the vendor’s POP at the customer's site. | Yes |  | Fiber | 1050 | 0 | [6 empty] | 2075 | 0 | 60 | read, understood and will comply. | 150 | 25200 | 5 | 95
6 | DSHS2031 | 605 McMurray Richland WA 99352 | Robert Riddick riddirf@dshs.wa.gov 509-220-1931 Building contact: Robert Loftis 509-225-6116 | Demarc to be located no further than 10 feet of DSHS router. | NO | 150 | 100M | 5 | 95 | Vendors must be escorted at this site. Vendor shall provide, in initial response, proposed design for how the service is to be delivered to the site to include the complete physical route from the vendor’s equipment in the SDC to the vendor’s POP at the customer's site. | Yes |  | Fiber | 915 | 0 | [6 empty] | 1450 | 0 | 60 | read, understood and will comply. | 150 | 21960 | 5 | 95
7 | DSHS2029 | 11042 Parke Creek Road Ellensburg WA 98926 | Robert Riddick riddirf@dshs.wa.gov 509-220-1931 Building contact: 509-968-3924 | Demarc to be located no further than 10 feet of DSHS router. | NO | 150 | 100M | 5 | 95 | Vendors must be escorted at this site. Vendor shall provide, in initial response, proposed design for how the service is to be delivered to the site to include the complete physical route from the vendor’s equipment in the SDC to the vendor’s POP at the customer's site. |  |  |  |  | 0 | [10 empty] | 150 | 0 | 5 | 95
8 | DSHS6043 | 375 SW 11th St Chehalis WA 98532 | Eric Dyson dysones@dshs.wa.gov 360-791-4849 Building contact: Jeff Lee 360-740-3500 | Demarc to be located no further than 10 feet of DSHS router. | NO | 150 | 100M | 5 | 95 | Vendors must be escorted at this site. Vendor shall provide, in initial response, proposed design for how the service is to be delivered to the site to include the complete physical route from the vendor’s equipment in the SDC to the vendor’s POP at the customer's site. | Yes |  | Fiber | 999 | 0 | [6 empty] | 1950 | 0 | 60 | read, understood and will comply. | 150 | 23976 | 5 | 95
9 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
10 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
11 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
12 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
13 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
14 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
15 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
16 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
17 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
18 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
19 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
20 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
21 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
22 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
23 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
24 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
25 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
26 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
27 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
28 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
29 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
30 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only