## New
Evaluation Model for Solicitation Number N21-RFQ-001
| CTS to Complete | [9 empty] | Vendor to Complete
[8 empty] | Scoring | [6 empty] | Supplemental Bandwidth Examples (M) See Section 4 of the RFQ |  | Evaluation Values
| Site Name | Site Address | Site Contact(s) | Service to terminate to this location: | Floor Map Included (Y/N) | Guaranteed Install Interval (days) | Initial Proposed Bandwidth | Timeline Points | Cost Points | Special Mandatory Requirements- (such as special term length, E-rate site, background check needed, optical handoff type, diverse path, site survey required, etc.) | (MS) If Vendor can commit to a shorter Install Interval, please state the number of days. | (M) Local loop type to the site address (fiber, copper, or fixed wireless) | (MS) MRC | (MS) NRC | MRC (100M) | MRC (1G) | Timeline | Cost | Timeline Points | Cost Points
1 | Example1234 | 1500 Lincoln Ave SW Olympia, WA 98504 | Mr. John Doe 360-555-1234 email@email.com | 2nd Floor, NE Corner, utility closet next to room 224 | YES | 120 | 10M | 10 | 90 | 1. The Vendor shall: | 20 | Fiber | 500 | 1000 | 1000 | 1800 | 20 | 13000 | 10 | 90
2 | WSP0302 | 143302 E Law Lane Kennewick, WA 99337-2001 | David Smith 360-534-0696 david.smith@wsp.wa.gov | Circuits to be installed at the building telco demarc. Vendor to extend demarc to WSP router location. | NO | 120 | 1000M (1G) | 5 | 95 | Must be 1600-byte MTU minimum. Site contact must informed of any engineering/installation requirements. | 120 | Fiber | 1437.5 | 84375 | 937.5 |  | 120 | 118875 | 5 | 95
3 | WSP2102 | 850 NW Louisiana Ave. Chehalis WA, 98532-1319 | David Smith 360-534-0696 david.smith@wsp.wa.gov | Circuits to be installed at the building telco demarc. Vendor to extend demarc to WSP router location. | NO | 150 | 100M | 5 | 95 | Must be 1600-byte MTU minimum. Site contact must informed of any engineering/installation requirements. |  |  |  | 0 |  |  | 150 | 0 | 5 | 95
4 | WSP3103 | 16778 146th St. SE Monroe WA, 98272-2938 | David Smith 360-534-0696 david.smith@wsp.wa.gov Property Owner: Nick 425-455-8100 nick@sterlingrealty.com | Circuits to be installed at the building telco demarc. Vendor to extend demarc to WSP router location. | NO | 150 | 100M | 5 | 95 | Must be 1600-byte MTU minimum. Site contact must informed of any engineering/installation requirements. All construction must be prior approved by building owner (Sterling Realty Organization) | 150 | Fiber | 1062.5 | 74375 |  | 1437.5 | 150 | 99875 | 5 | 95
5 | WSP3404 | 222 Tumwater Blvd. Olympia, WA 98512 | David Smith 360-534-0696 david.smith@wsp.wa.gov Property Owner: Clarita Mattox 360-528-8070 360-239-7052 claritam@portolympia.com | Circuits to be installed at the building telco demarc. Vendor to extend demarc to WSP router location. | NO | 150 | 100M | 5 | 95 | Must be 1600-byte MTU minimum. Site contact must informed of any engineering/installation requirements. All construction must be prior approved by building owner (Port of Olympia) |  |  |  | 0 |  |  | 150 | 0 | 5 | 95
6 | WSP1401 | 3111 Pacific Ave. Hoquiam, WA 98550-4222 | David Smith 360-534-0696 david.smith@wsp.wa.gov | Circuits to be installed at the building telco demarc. Vendor to extend demarc to WSP router location. | NO | 150 | 100M | 5 | 95 | Must be 1600-byte MTU minimum. Site contact must informed of any engineering/installation requirements. | 120 | Fiber | 562.5 | 625 |  | 1000 | 120 | 14125 | 5 | 95
7 | WSP3405 | 8543 Armstrong Road SW Olympia, WA 98512 | David Smith 360-534-0696 david.smith@wsp.wa.gov | Circuits to be installed at the building telco demarc. Vendor to extend demarc to WSP router location. | NO | 225 | 100M | 10 | 90 | Must be 1600-byte MTU minimum. Site contact must informed of any engineering/installation requirements. |  |  |  | 0 |  |  | 225 | 0 | 10 | 90
8 | WSP0101 | 1563 E. Gun Club Rd. Ritzville, WA 99169-9661 | David Smith 360-534-0696 david.smith@wsp.wa.gov | Circuits to be installed at the building telco demarc. Vendor to extend demarc to WSP router location. | NO | 150 | 100M | 5 | 95 | Must be 1600-byte MTU minimum. Site contact must informed of any engineering/installation requirements. | 150 | Fiber | 687.5 | 65625 |  | 1062.5 | 150 | 82125 | 5 | 95
9 | WSP1704 | 2203 Airport Way S. Seattle, WA 98134-2048 | David Smith 360-534-0696 david.smith@wsp.wa.gov Property Owner: Nancy Stachey 206-684-0690 206-402-9417 Nancy.stachey@seattle.gov | Circuits to be installed at the building telco demarc. Vendor to extend demarc to WSP router location. | NO | 150 | 1000M (1G) | 5 | 95 | Must be 1600-byte MTU minimum. Site contact must informed of any engineering/installation requirements. All construction must be prior approved by building owner (City of Seattle) |  |  |  | 0 |  |  | 150 | 0 | 5 | 95
10 | WSP2301 | 629 W. Dayton Airport Road Shelton, WA 98584-8945 | David Smith 360-534-0696 david.smith@wsp.wa.gov | Circuits to be installed at the building telco demarc. Vendor to extend demarc to WSP router location. | NO | 150 | 100M | 5 | 95 | Must be 1600-byte MTU minimum. Site contact must informed of any engineering/installation requirements. | 120 | Fiber | 687.5 | 625 |  | 1062.5 | 120 | 17125 | 5 | 95
11 | WSP3601 | 406 Wellington Walla Walla, WA 99362-2252 | David Smith 360-534-0696 david.smith@wsp.wa.gov | Circuits to be installed at the building telco demarc. Vendor to extend demarc to WSP router location. | NO | 150 | 100M | 5 | 95 | Must be 1600-byte MTU minimum. Site contact must informed of any engineering/installation requirements. | 150 | Fiber | 625 | 3437.5 |  | 1000 | 150 | 18437.5 | 5 | 95
12 | LTE-PORTLAND | 707 SW WASHINGTON ST PORTLAND OR 97205-3522 | Tim Belt timothy.c.belt@verizon.com 916-508-0790 | 5th floor Meet Me Room LCON will arrange access | NO | 150 | 1000M (1G) | 5 | 95 | This will be a point to point connection between Quincy data center and the Portland location - LCON in Portland will direct drop off location - In Quincy (Sabey data center) 2200 M Street NE - Quincy, WA 98848 - deliver to Building C-in MMR#2 (Meet me Room #2), Tag connection with Circuit ID and send location information (rack, elevation etc.) in completion notice Both ends are to be Single mode fiber. This circuit is to be able to carry multiple VLANs across the connection. |  |  |  | 0 |  |  | 150 | 0 | 5 | 95
13 | DOCGHB1 | Washington Corrections Center for Women (WCCW) 9601 Bujacich Rd NW, Gig Harbor, WA 983328300 | Kevin Duffy 253-858-4627 kevin.duffy@doc1.wa.gov | Y building | YES | 200 | 10M | 5 | 95 | This is a redundant / diverse circuit for this site, to support high availability. Existing circuit is provided by Comcast. Proposed solution must not utilize Comcast. |  |  |  | 0 |  |  | 200 | 0 | 5 | 95
14 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
15 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
16 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
17 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
18 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
19 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
20 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
21 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
22 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
23 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
24 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
25 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
26 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
27 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
28 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
29 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only