## Individual Pricing
Site | Site Representative | Site Representative Contact Info | (CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Node Site (Section D3) | (CTS) Terminating Port Type (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) SWO Length (Section D6) | (CTS) Order New or Upgrade (Section D7) | (CTS) Total number of VLANs required (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (Vendor) Mandatory (Section D11) | (Vendor) Mandatory (Section D12) | (CTS) Modified NRC (Section D13) | (Vendor) Mandatory (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) Modified DMARC (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) Aggregation Trunk Charges (Section D18) | (Vendor) Mandatory (Section D19) | (Vendor) Mandatory (Section D20) | (Vendor) Mandatory (Section D21) | (CTS) Modified TLA Costs (Section D22) | (Vendor) Mandatory (Section D23) | (CTS) Modified Other (Section D24) | (Vendor) Mandatory (Section D25) | (CTS) Special Requirements (Section D26)
Customer Site name | Site Representative | Site Representative Contact Info | Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | Circuit Order (New Or Upgrade) | Total number of VLANs | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes |  | VLAN Charge | DMARC Cost |  | Size of Trunk- 1 or 10 gigabit (Node Site end) and Trunk Identifier |  | Existing Circuit End Date XX/XX/XXXX | Existing Circuit TLA (Cost) $XXX.XX | Waive TLA Cost (Y/N) |  | Other Charges |  | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper | Any non-standard requirements | Total
DSHS6035 | Bob Ritchey | (360) 586-1081 Option 2 | 2010 Puget St NE, 1st floor, OLYMPIA WA 98506-3375 | 10mb | Olympia | Copper | n | 12 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | The site is currently under contract until June 2017. Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: Bob's Office, 1st floor, Bldg 2010. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6035 | Bob Ritchey | (360) 586-1081 Option 2 | 2010 Puget St NE, 1st floor, OLYMPIA WA 98506-3375 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | The site is currently under contract until June 2017. Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: Bob's Office, 1st floor, Bldg 2010. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6035 | Bob Ritchey | (360) 586-1081 Option 2 | 2010 Puget St NE, 1st floor, OLYMPIA WA 98506-3375 | 100mb | Olympia | Copper | n | 12 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | The site is currently under contract until June 2017. Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: Bob's Office, 1st floor, Bldg 2010. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6035 | Bob Ritchey | (360) 586-1081 Option 2 | 2010 Puget St NE, 1st floor, OLYMPIA WA 98506-3375 | 100mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | The site is currently under contract until June 2017. Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: Bob's Office, 1st floor, Bldg 2010. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS1028 | Val Smith | (509) 667-6729 | 630 N Chelan Ave, Suite B6 - LAN Room, Wenatchee, WA 98801-6622 | 100mb | Olympia | Copper | n | 12 | New | 1 | 900 | 73.8 | 0 | 0 |  | 0 | 0 |  | 10Gbps (CID# 2800-00) |  | N/A | N/A | N/A |  | 0 |  | Fiber | Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: Suite B6 - LAN Room, Bldg 630. Refer to LCON for further instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS1028 | Val Smith | (509) 667-6729 | 630 N Chelan Ave, Suite B6 - LAN Room, Wenatchee, WA 98801-6622 | 100mb | Olympia | Copper | n | 12 24 | New | 1 | 850 | 69.7 | 0 | 0 |  | 0 | 0 |  | 10Gbps (CID# 2800-00) |  | N/A | N/A | N/A |  | 0 |  | Fiber | Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: Suite B6 - LAN Room, Bldg 630. Refer to LCON for further instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DOLC0519 | Suzan Mansfield | (360) 683-8375 | Sequim Licensing Depot LLC, 649 W Washington St, Sequim, WA 98382-3380 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendors intending to bid on this location are strongly urged to perform a physical site survey of this location to confirm building entrance path availability for their proposed solution before summiting a bid. Vendor to extend DEMARC to within 10 feet of customer equipment per attached map and per LCON. Vendor must contact LCON at least 3 days in advance for needed access.
COMDDC | Mark Hagen | (360) 725-2672 | 2600 Martin Way E., Suite F, Olympia, WA 98506-4974 | 100mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to within 10 feet of customer equipment per attached map and per LCON - Vendor must contact LCON at least 3 days in advance for access
COMDDC | Mark Hagen | (360) 725-2672 | 2600 Martin Way E., Suite F, Olympia, WA 98506-4974 | 100mb | Olympia | Copper | n | 36 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to within 10 feet of customer equipment per attached map and per LCON - Vendor must contact LCON at least 3 days in advance for access
DSHS2061 | Melissa Castilleja | (509) 225-4479 / (509) 594-0784 | 1925 Morgan Rd, LAN Room, Sunnyside, WA 98944-4809 | 10mb | Olympia | Copper | n | 12 | New | 1 | 275 | 22.55 | 0 | 0 |  | 0 | 0 |  | 10Gbps (CID# 2800-00) |  | N/A | N/A | N/A |  | 0 |  | Fiber | The site is currently under contract until June 2017. Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Bldg 1925. Refer to attached drawing/Floor Plan for details. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS2061 | Melissa Castilleja | (509) 225-4479 / (509) 594-0784 | 1925 Morgan Rd, LAN Room, Sunnyside, WA 98944-4809 | 10mb | Olympia | Copper | n | 24 | New | 1 | 250 | 20.5 | 0 | 0 |  | 0 | 0 |  | 10Gbps (CID# 2800-00) |  | N/A | N/A | N/A |  | 0 |  | Fiber | The site is currently under contract until June 2017. Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Bldg 1925. Refer to attached drawing/Floor Plan for details. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS2061 | Melissa Castilleja | (509) 225-4479 / (509) 594-0784 | 1925 Morgan Rd, LAN Room, Sunnyside, WA 98944-4809 | 100mb | Olympia | Copper | n | 12 | New | 1 | 550 | 45.1 | 0 | 0 |  | 0 | 0 |  | 10Gbps (CID# 2800-00) |  | N/A | N/A | N/A |  | 0 |  | Fiber | The site is currently under contract until June 2017. Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Bldg 1925. Refer to attached drawing/Floor Plan for details. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS2061 | Melissa Castilleja | (509) 225-4479 / (509) 594-0784 | 1925 Morgan Rd, LAN Room, Sunnyside, WA 98944-4809 | 100mb | Olympia | Copper | n | 24 | New | 1 | 500 | 41 | 0 | 0 |  | 0 | 0 |  | 10Gbps (CID# 2800-00) |  | N/A | N/A | N/A |  | 0 |  | Fiber | The site is currently under contract until June 2017. Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Bldg 1925. Refer to attached drawing/Floor Plan for details. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DOCCBY2 | Josh LaBerge | (360) 725-8495 | 17203 Highway 112, Clallam Bay, WA 98326-9800 | 10mb | Olympia | Copper | n | 12 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Copper handoff required. Demarc extend requested to Room 141. Please reference attached site map. Vendor must provide 4 hour UPS to their switch. Vendor and/or their contractors must contact the site contact at least 72 hours in advance for site access.
DOCCBY2 | Josh LaBerge | (360) 725-8495 | 17203 Highway 112, Clallam Bay, WA 98326-9800 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Copper handoff required. Demarc extend requested to Room 141. Please reference attached site map. Vendor must provide 4 hour UPS to their switch. Vendor and/or their contractors must contact the site contact at least 72 hours in advance for site access.

## Grouped Pricing (hidden)
(CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Terminating Node Site (Section D3) | (CTS) Service Termination (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) Supplemental Work Order Term (Section D6) | (Vendor) Mandatory (Section D7) | (Vendor) Mandatory (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (CTS) (Section D11) | (Vendor) Mandatory (Section D12) | (Vendor) Mandatory (Section D13) | (CTS) (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) (Section D18) | (Vendor) Mandatory (Section D19)
Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes | Modified NRC | VLAN Charge (if applicable) | DMARC Cost (if applicable) | Modified DMARC | Size of Trunk- 1 or 10 gigabit (Node Site end) | Aggregation Trunk Charges | Other Charges (if applicable) | Modified Other | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper