## Individual Pricing
Site | Site Representative | Site Representative Contact Info | (CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Node Site (Section D3) | (CTS) Terminating Port Type (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) SWO Length (Section D6) | (CTS) Order New or Upgrade (Section D7) | (CTS) Total number of VLANs required (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (Vendor) Mandatory (Section D11) | (Vendor) Mandatory (Section D12) | (CTS) Modified NRC (Section D13) | (Vendor) Mandatory (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) Modified DMARC (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) Aggregation Trunk Charges (Section D18) | (Vendor) Mandatory (Section D19) | (Vendor) Mandatory (Section D20) | (Vendor) Mandatory (Section D21) | (CTS) Modified TLA Costs (Section D22) | (Vendor) Mandatory (Section D23) | (CTS) Modified Other (Section D24) | (Vendor) Mandatory (Section D25) | (CTS) Special Requirements (Section D26)
Customer Site name | Site Representative | Site Representative Contact Info | Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | Circuit Order (New Or Upgrade) | Total number of VLANs | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes |  | VLAN Charge | DMARC Cost |  | Size of Trunk- 1 or 10 gigabit (Node Site end) and Trunk Identifier |  | Existing Circuit End Date XX/XX/XXXX | Existing Circuit TLA (Cost) $XXX.XX | Waive TLA Cost (Y/N) |  | Other Charges |  | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper | Any non-standard requirements | Total
DOLC2122 | Sharon | (360) 748-6689 | Twin City Licensing, 151 NE Hampe Way, STE B 3-1, Chehalis, WA 98532-2403 | 10mb | Olympia | Copper | n | 24 | New | 1 | 970 | 0 | 5250 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002571 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Vendor to extend DEMARC to location indicated on attached sitemap - Vendor must call 3 days in advance for any needed access.
DOLC3122 | Raelynn or Dianne | (360) 436-1131 | Town of Darrington, 1005 Cascade Street, Darrington, WA 98241 | 10mb | Olympia | Copper | n | 24 | New | 1 | [5 empty] | 0 | 0 |  |  |  | n/a | 1 | n/a |  |  |  |  | Vendor to extend DEMARC to location indicated on attached sitemap - Vendor must call 3 days in advance for any needed access.
DOLC3146 | Sara | (425) 353-5333 | Beverly's Auto Licensing Inc., 9111 Evergreen Way, Everett, WA 98204-7121 | 10mb | Olympia | Copper | n | 24 | New | 1 | [5 empty] | 0 | 0 |  |  |  | n/a | 2 | n/a |  |  |  |  | Vendor to extend DEMARC to location indicated on attached sitemap - Vendor must call 3 days in advance for any needed access
DOLC3155 | Cari Crook | (360) 657-4444 | CLC Auto Licensing, 9611 State Ave, STE F, Marysville, WA 98270-2201 | 10mb | Olympia | Copper | n | 24 | New | 1 | [5 empty] | 0 | 0 |  |  |  | n/a | 3 | n/a |  |  |  |  | Vendor to extend DEMARC to location indicated on attached sitemap - Vendor must call 3 days in advance for any needed access.
DOLC3252 | Sean or Melanie | (509) 244-1763 | Airway Auto Licensing, 13126 W Sunset Hwy, Airway Heights, WA 99001 | 10mb | Olympia | Copper | n | 24 | New | 1 | 1033 | 0 | 2395 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002571 |  | n/a | 0 | n/a |  |  |  | Fiber with Copper (Cat5e) handoff | Vendor to extend DEMARC to location indicated on attached sitemap - Vendor must call 3 days in advance for any needed access.
DOLC3249 | Erika or Inga | (509) 534-6022 | South Hill Auto Licensing Inc., 2727 S Mount Vernon St, STE 3B, Spokane, WA 99223-4849 | 10mb | Olympia | Copper | n | 24 | New | 1 | [5 empty] | 0 | 0 |  |  |  | n/a | 5 | n/a |  |  |  |  | Vendor to extend DEMARC to location indicated on attached sitemap - Vendor must call 3 days in advance for any needed access.
DOLC0901 | Juan Sanchez | (509) 888-6370 | Douglas County Auditor Auto License, 213 S Rainier St, Waterville, WA 98858-0456 | 10mb | Olympia | Copper | n | 24 | New | 1 | 570 | 0 | 360 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002571 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | This site is currently under contract until 5/26/17 - Vendor to extend DEMARC to location indicated on attached sitemap - Vendor must call 3 days in advance for any needed access.
DOLC2201 | Tara Holden | (509) 725-8227 | Lincoln County Auditor Auto Licensing, 450 Logan St, Davenport, WA 99122-5184 | 10mb | Olympia | Copper | n | 24 | New | 1 | 340 | 0 | 250 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002571 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Vendor to extend DEMARC to location indicated on attached sitemap - Vendor must call 3 days in advance for any needed access.
DSHS6112 | Maria Koury-Courvall | (360) 538-2442 | 411 W Washington St, Sequim, WA 98382-3343 | 10mb | Olympia | Copper | n | 12 | New | 1 | 470 | 0 | 300 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002571 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 7/5/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Bldg 411; please refer to the attached Floor Plan for the location of circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6112 | Maria Koury-Courvall | (360) 538-2442 | 411 W Washington St, Sequim, WA 98382-3343 | 10mb | Olympia | Copper | n | 24 | New | 1 | 470 | 0 | 0 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002571 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 7/5/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Bldg 411; please refer to the attached Floor Plan for the location of circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6112 | Maria Koury-Courvall | (360) 538-2442 | 411 W Washington St, Sequim, WA 98382-3343 | 100mb | Olympia | Copper | n | 12 | New | 1 | 910 | 0 | 500 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002571 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 7/5/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Bldg 411; please refer to the attached Floor Plan for the location of circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6112 | Maria Koury-Courvall | (360) 538-2442 | 411 W Washington St, Sequim, WA 98382-3343 | 100mb | Olympia | Copper | n | 24 | New | 1 | 910 | 0 | 0 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002571 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 7/5/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Bldg 411; please refer to the attached Floor Plan for the location of circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6022 | Mark Smith | (360) 957-3380 | 307 East Robert Bush Drive, South Bend, WA 98586 | 10mb | Olympia | Copper | n | 12 | New | 1 | 650 | 0 | 9058 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002571 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 6/29/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: Telecom Room, Bldg 307; please refer to the attached Floor Plan for the location of circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6022 | Mark Smith | (360) 957-3380 | 307 East Robert Bush Drive, South Bend, WA 98586 | 10mb | Olympia | Copper | n | 24 | New | 1 | 650 | 0 | 8808 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002571 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 6/29/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: Telecom Room, Bldg 307; please refer to the attached Floor Plan for the location of circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6022 | Mark Smith | (360) 957-3380 | 307 East Robert Bush Drive, South Bend, WA 98586 | 100mb | Olympia | Copper | n | 12 | New | 1 | 890 | 0 | 9058 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002571 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 6/29/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: Telecom Room, Bldg 307; please refer to the attached Floor Plan for the location of circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6022 | Mark Smith | (360) 957-3380 | 307 East Robert Bush Drive, South Bend, WA 98586 | 100mb | Olympia | Copper | n | 24 | New | 1 | 890 | 0 | 8600 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002571 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 6/29/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: Telecom Room, Bldg 307; please refer to the attached Floor Plan for the location of circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS4049 | Mike Potter | (206) 518-1617 | 810 28th St NE, Auburn, WA 98002-2425 | 10mb | Olympia | Copper | n | 12 | New | 1 | [17 empty] | ***The existing 10M at this site is under contract until 8/29/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Bldg 810; please refer to the attached Floor Plan for the location of circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS4049 | Mike Potter | (206) 518-1617 | 810 28th St NE, Auburn, WA 98002-2425 | 10mb | Olympia | Copper | n | 24 | New | 1 | [17 empty] | ***The existing 10M at this site is under contract until 8/29/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Bldg 810; please refer to the attached Floor Plan for the location of circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS4049 | Mike Potter | (206) 518-1617 | 810 28th St NE, Auburn, WA 98002-2425 | 100mb | Olympia | Copper | n | 12 | New | 1 | [17 empty] | ***The existing 10M at this site is under contract until 8/29/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Bldg 810; please refer to the attached Floor Plan for the location of circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS4049 | Mike Potter | (206) 518-1617 | 810 28th St NE, Auburn, WA 98002-2425 | 100mb | Olympia | Copper | n | 24 | New | 1 | [17 empty] | ***The existing 10M at this site is under contract until 8/29/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Bldg 810; please refer to the attached Floor Plan for the location of circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
WSDA0601 | Jeff Martin | (360) 696-6711 | 1975 NW Harborside Drive Vancouver, WA 98660-1079 | 10mb | Olympia | Copper | n | 12 | New | 1 | [17 empty] | Vendors are strongly urged to perform a site survey to confirm building entrance options for their proposed solution. Copper Handoff Required. Demarc extend requested. Please reference attached site map - extension point is circled in green on the sheet labelled for Vancouver. Vendor must provide a 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access.
WSDA0601 | Jeff Martin | (360) 696-6711 | 1975 NW Harborside Drive Vancouver, WA 98660-1079 | 10mb | Olympia | Copper | n | 24 | New | 1 | [17 empty] | Vendors are strongly urged to perform a site survey to confirm building entrance options for their proposed solution. Copper Handoff Required. Demarc extend requested. Please reference attached site map - extension point is circled in green on the sheet labelled for Vancouver. Vendor must provide a 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access.
WSDA0601 | Jeff Martin | (360) 696-6711 | 1975 NW Harborside Drive Vancouver, WA 98660-1079 | 10mb | Olympia | Copper | n | 36 | New | 1 | [17 empty] | Vendors are strongly urged to perform a site survey to confirm building entrance options for their proposed solution. Copper Handoff Required. Demarc extend requested. Please reference attached site map - extension point is circled in green on the sheet labelled for Vancouver. Vendor must provide a 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access.
WSDA0802 | Jake Hillebrand | (360) 673-2727 | 400 Toteff Road, Kalama, WA 98625-8403 | 10mb | Olympia | Copper | n | 12 | New | 1 | [17 empty] | Vendors are strongly urged to perform a site survey to confirm building entrance options for their proposed solution. Copper Handoff Required. Demarc extend requested. Please reference attached site map - extension point is circled in green on the sheet labelled for Vancouver. Vendor must provide a 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access.
WSDA0802 | Jake Hillebrand | (360) 673-2727 | 400 Toteff Road, Kalama, WA 98625-8403 | 10mb | Olympia | Copper | n | 24 | New | 1 | [17 empty] | Vendors are strongly urged to perform a site survey to confirm building entrance options for their proposed solution. Copper Handoff Required. Demarc extend requested. Please reference attached site map - extension point is circled in green on the sheet labelled for Vancouver. Vendor must provide a 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access.
WSDA0802 | Jake Hillebrand | (360) 673-2727 | 400 Toteff Road, Kalama, WA 98625-8403 | 10mb | Olympia | Copper | n | 36 | New | 1 | [17 empty] | Vendors are strongly urged to perform a site survey to confirm building entrance options for their proposed solution. Copper Handoff Required. Demarc extend requested. Please reference attached site map - extension point is circled in green on the sheet labelled for Vancouver. Vendor must provide a 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access.

## Grouped Pricing (hidden)
(CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Terminating Node Site (Section D3) | (CTS) Service Termination (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) Supplemental Work Order Term (Section D6) | (Vendor) Mandatory (Section D7) | (Vendor) Mandatory (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (CTS) (Section D11) | (Vendor) Mandatory (Section D12) | (Vendor) Mandatory (Section D13) | (CTS) (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) (Section D18) | (Vendor) Mandatory (Section D19)
Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes | Modified NRC | VLAN Charge (if applicable) | DMARC Cost (if applicable) | Modified DMARC | Size of Trunk- 1 or 10 gigabit (Node Site end) | Aggregation Trunk Charges | Other Charges (if applicable) | Modified Other | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper