## New
Evaluation Model for Solication Number T18-RFQ-046
| CTS to Complete | [9 empty] | Vendor To Complete
[8 empty] | Scoring | [7 empty] | Supplemental Bandwidth Examples (M) See Section 4 of the RFQ | [9 empty] | Evaluation Values
| Site Name | Site Address | Site Contact(s) | Service to terminate to this location: | Floor Map Included (Y/N) | Guaranteed Install Interval (days) | Initial Proposed Bandwidth | Timeline Points | Cost Points | Special Mandatory Requirements- (such as special term length, E-rate site, background check needed, optical handoff type, diverse path, site survey required, etc) | (M) Vendor shall commit to the requested Install Interval | (MS) If Vendor can commit to a shorter Install Interval, please state the number of days. | (M) Local loop type to the site address (fiber, copper, or fixed wireless) | (MS) MRC | (MS) NRC | MRC (20M): | NRC (20M): | Estimated upgrade Install Interval for the upgrade to (20M): | MRC (100M) | NRC (100M): | Estimated upgrade Install Interval for the upgrade to (100M): | MRC (1G) | NRC (1G): | Estimated upgrade Install Interval for the upgrade to (1G): | (M) Vendor Response to Special Mandatory Requirements- Vendors shall check the box if they have read, understood and will comply. | Timeline | Cost | Timeline Points | Cost Points
1 | Example1234 | 1500 Lincoln Ave SW Olympia, WA 98504 | Mr. John Doe 360-555-1234 email@email.com | 2nd Floor, NE Corner, utility closet next to room 224 | YES | 120 | 10M | 10 | 90 | 1. The Vendor shall: | Yes | 20 | Fiber | 500 | 1000 | 500 | 1000 | 20 | 1000 | 5000 | 20 | 1800 | 10000 | 45 |  | 20 | 13000 | 10 | 90
2 | DVA3201 | 222 E 5th Ave Spokane, WA 99202-1394 | James Chapin 360-584-5685 JamesCh@dva.wa.gov | Demarc per attached site map | YES | 100 | 1000M (1G) | 10 | 90 | [5 empty] | 0 | [10 empty] | 100 | 0 | 10 | 90
3 | WSDA0101 | 1045 E Main St, Ste F Othello, WA 99344-2500 | Richard McCabe 509-488-2862 rmccabe@agr.wa.gov | Network rack per attached site map | YES | 100 | 10M | 10 | 90 |  | Yes | 100 |  | 175 | 3628.67 | 205 | 3628.67 | 30 | 400 | 3627.67 | 30 | 900 | 3628.67 | 30 | Check - Noel has read, understands and will apply. | 100 | 7828.67 | 10 | 90
4 | LNIPUL | 1250 Bishop Blvd Pullman, WA 99163-5449 | Jerry Swenson 360-902-5993 SWEJ235@LNI.WA.GOV | 1st Floor LAN Room per attached site map | YES | 100 | 10M | 10 | 90 |  | Yes | 100 |  | 469 | 2450 | 499 | 245 | 30 | 694 | 2450 | 30 | 1194 | 2450 | 300 | Check - Noel has read, understands and will apply. | 100 | 13706 | 10 | 90
5 | PSP27CUW | 326 E D Street Tacoma , WA 98421-1804 | Eric Green 253-666-6288 eric.green@psp.wa.gov | Demarc per attached floor plan | YES | 100 | 100M | 10 | 90 | [5 empty] | 0 | [10 empty] | 100 | 0 | 10 | 90
6 | DSHS2030 | 1421 E Division Ave Ephrata, WA 98823-1984 | Dan Cathers 509-363-5081 CatheDR@dshs.wa.gov Bldg Site Contact: Emilio Iñiguez 509-754-3121 | LAN Room, refer to LCON for details. Demarc to be located no further than 10 feet of DSHS Router. | NO | 100 | 100M | 10 | 90 |  | Yes | 100 |  | 1011 | 1050 | 816 | 1050 | 45 | 1011 | 1050 | 45 | 2568 | 1050 | 45 | Check - Noel has read, understands and will apply. | 100 | 25314 | 10 | 90
7 | DEL1801 | 4040 Wheaton Way, Ste 211 Bremerton, WA 98310-3565 | Ted Martin 360-701-9104 ted.martin@del.wa.gov | Bldg 4040, LAN Room, 1st floor | NO | 100 | 100M | 10 | 90 | [5 empty] | 0 | [10 empty] | 100 | 0 | 10 | 90
8 | PE-PTT1602/ DSHS6057 | 915 Sheridan St Port Townsend, WA 98368-2931 | Marc Schuh 360-473-2207 (cell) 360-271-9233 Building contact for all on-site dispatches: Chris O'Higgins (Director of Facilities) 360-358-2200 #1402 cohiggins@jph.org | LAN Room, Unit C-1, Bldg 915. Refer to the attached floor plan. | YES | 100 | 100M | 10 | 90 | Please note that the Customer (DSHS) would prefer that existing pathways be utilized (unless there is a compelling reason to change) but that will not impact the evaluation of vendor’s responses. DSHS believes the lessor would prefer a solution that does not require exterior hardware attachment, but WaTech has not validated. That would be the responsibility of the Vendor. Demarc to be located no further than 10 feet of DSHS Router. |  |  |  |  | 0 | [10 empty] | 100 | 0 | 10 | 90
9 | DSHS3054 | 535 Market St, Friday Harbor, WA 98250-7982 | Raymond Williams 360-391-6012 Building contact: Tim Judkins 360-317-7079 | LAN Room, Bldg 535. Refer to the attached floor plan. | YES | 100 | 10M | 40 | 60 | New site, Customer move-in date: 6/1/18. Please note that the Customer (DSHS) would prefer that existing pathways be utilized (unless there is a compelling reason to change) but that will not impact the evaluation of vendor’s responses. DSHS believes the lessor would prefer a solution that does not require exterior hardware attachment, but WaTech has not validated. That would be the responsibility of the Vendor. Demarc to be located no further than 10 feet of DSHS Router. |  |  |  |  | 0 | [10 empty] | 100 | 0 | 40 | 60
10 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
11 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
12 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
13 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
14 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
15 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
16 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
17 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
18 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
19 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
20 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
21 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
22 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
23 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
24 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
25 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
26 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only