## New
Evaluation Model for Solicitation Number T19-RFQ-009
| CTS to Complete | [9 empty] | Vendor To Complete
[8 empty] | Scoring | [7 empty] | Supplemental Bandwidth Examples (M) See Section 4 of the RFQ | [9 empty] | Evaluation Values
| Site Name | Site Address | Site Contact(s) | Service to terminate to this location: | Floor Map Included (Y/N) | Guaranteed Install Interval (days) | Initial Proposed Bandwidth | Timeline Points | Cost Points | Special Mandatory Requirements- (such as special term length, E-rate site, background check needed, optical handoff type, diverse path, site survey required, etc.) | (M) Vendor shall commit to the requested Install Interval | (MS) If Vendor can commit to a shorter Install Interval, please state the number of days. | (M) Local loop type to the site address (fiber, copper, or fixed wireless) | (MS) MRC | (MS) NRC | MRC (20M): | NRC (20M): | Estimated upgrade Install Interval for the upgrade to (20M): | MRC (100M) | NRC (100M): | Estimated upgrade Install Interval for the upgrade to (100M): | MRC (1G) | NRC (1G): | Estimated upgrade Install Interval for the upgrade to (1G): | (M) Vendor Response to Special Mandatory Requirements- Vendors shall check the box if they have read, understood and will comply. | Timeline | Cost | Timeline Points | Cost Points
1 | Example1234 | 1500 Lincoln Ave SW Olympia, WA 98504 | Mr. John Doe 360-555-1234 email@email.com | 2nd Floor, NE Corner, utility closet next to room 224 | YES | 120 | 10M | 10 | 90 | 1. The Vendor shall: | Yes | 20 | Fiber | 500 | 1000 | 500 | 1000 | 20 | 1000 | 5000 | 20 | 1800 | 10000 | 45 |  | 20 | 13000 | 10 | 90
2 | ESD3404 | 926B 79th Ave SE Tumwater, WA 98501-5897 | Tony Kancianich 360.509.9660 TKancianich@ESD.WA.GOV | LAN room, Bldg. 926B | NO | 100 | 10M | 10 | 90 |  | No |  |  |  | 0 | [10 empty] | 100 | 0 | 10 | 90
3 | DSHS2022 | Yakima Valley School 609 Speyers Rd Selah, WA 98942-1050 | Rodney Kluever 509-698-1284 rodney.kluever@dshs.wa.gov Building contact: John Muircroft 509-698-1266 | Comm room per attached floor map. Ethernet handoff to be located no further than 10 feet of DSHS Router. | YES | 100 | 1000M (1G) | 10 | 90 | This is a secondary circuit at this site. For redundancy and backup availability, the solution for this request must be on a network separate from Noel. Please note that the Customer (DSHS) would prefer that existing pathways be utilized (unless there is a compelling reason to change) but that will not impact the evaluation of vendor’s responses. DSHS believes the lessor would prefer a solution that does not require exterior hardware attachment, but WaTech has not validated. That would be the responsibility of the Vendor. DMARC to be located no further than 10 feet of DSHS Router. | No |  |  |  | 0 | [10 empty] | 100 | 0 | 10 | 90
4 | DSHS4009 | Fircrest School 15230 15th Ave NE Shoreline, WA 98155-7130 | Scott Zimmerman 206-361-3088 scott.zimmerman@dshs.wa.gov Building contact: Steve Hardy 206-361-3199 | Network/Comm room per attached bldg and floor map. Ethernet handoff to be located no further than 10 feet of DSHS Router. | YES | 100 | 1000M (1G) | 10 | 90 | This is a secondary circuit at this site. For redundancy and backup availability, the solution for this request must be on a network separate from Zayo and Comcast. Please note that the Customer (DSHS) would prefer that existing pathways be utilized (unless there is a compelling reason to change) but that will not impact the evaluation of vendor’s responses. DSHS believes the lessor would prefer a solution that does not require exterior hardware attachment, but WaTech has not validated. That would be the responsibility of the Vendor. DMARC to be located no further than 10 feet of DSHS Router. | No |  |  |  | 0 | [10 empty] | 100 | 0 | 10 | 90
5 | DSHS5004 | Rainier School 2120 Ryan Rd Buckley, WA 98321-9115 | Chris Seargent 360-829-4853 cell 360-688-6886 SARGECA@dshs.wa.gov Building contact: Scott Ward 360-829-3052 | Demarc needs to be in the Admin building where MDF is, as reflected in the attached site map. Ethernet handoff to be located no further than 10 feet of DSHS Router. | YES | 100 | 1000M (1G) | 10 | 90 | This is a secondary circuit at this site. For redundancy and backup availability, the solution for this request must be on a network separate from Zayo and Comcast. Please note that the Customer (DSHS) would prefer that existing pathways be utilized (unless there is a compelling reason to change) but that will not impact the evaluation of vendor’s responses. DSHS believes the lessor would prefer a solution that does not require exterior hardware attachment, but WaTech has not validated. That would be the responsibility of the Vendor. DMARC to be located no further than 10 feet of DSHS Router. | No |  |  |  | 0 | [10 empty] | 100 | 0 | 10 | 90
6 | DCYF1101 | 3918 West Court St. Pasco, WA 99301-2775 | Brian Christman 360.789.9462 brian.christman@dcyf.wa.gov | LAN Room, Bldg. 3918 | NO | 100 | 100M | 10 | 90 |  | No |  |  |  | 0 | [10 empty] | 100 | 0 | 10 | 90
7 | DCYF3901 | 111 S 2nd Ave. Yakima, WA 98902-3417 | Brian Christman 360.789.9462 brian.christman@dcyf.wa.gov | LAN Room, Bldg. 111 | NO | 100 | 100M | 10 | 90 |  | No |  |  |  | 0 | [10 empty] | 100 | 0 | 10 | 90
8 | UTC3401 | 621 Woodland Square Loop SE Lacey, WA 98503-1036 | Brian Gillespie 360-640-1175 brian.gillespie@utc.wa.gov | LAN Room 221 | YES | 100 | 1G | 10 | 90 | Pathway and conduit entry will be from Woodland Square Loop SE into the 1st floor Electrical Room (ER) (Rm 109) terminating in a wall-mounted box with bare fiber splicing panel. This incoming OSP fiber cable shall have at least 50' of excess fiber mounted on the wall as well. Will need to extend demarc from this wall box to the 2nd floor Server Room (Room 221). | No |  |  |  | 0 | [10 empty] | 100 | 0 | 10 | 90
9 | DOHLLIX | 23403 E Mission Ave Liberty Lake, WA 99019-7553 | Brian Leitch 360-236-4459 | Install to site demarc and tag | NO | 100 | 100M | 10 | 90 |  | Yes | 80 | Fiber | 650 | 0 | [6 empty] | 1050 | 500 | 60 | x | 80 | 15600 | 10 | 90
10 | DOLD3201 | Spokane Valley LSO 12801 E Sprague Ave Spokane, WA 99216-0700 | Treacy Harris 509-921-2313 | Install per attached site map | YES | 100 | 20M | 10 | 90 |  | Yes | 90 | Copper | 415 | 0 |  |  |  | 950 | 500 | 100 | 1550 | 500 | 100 | x | 90 | 9960 | 10 | 90
11 | DSHS2068 | 301 W Umptanum Rd, Ste 6 Ellensburg, WA 98926-6719 | Kim Faber Conine Cell 360-280-6538 or DCS IT Service Desk 360-664-5300 Building contact: Christine Foley (Central Storage) 509-925-9242 | LAN Room, Suite 6. Demarc to be located no further than 10ft of the DSHS router. | NO | 80 | 100M | 30 | 70 | This is a new site. Customer move-in date: 8/20/18. Building attendant is Washington Association of Prosecuting Attorneys (WAPA) and is located in a County supported site. | No |  |  |  | 0 | [10 empty] | 80 | 0 | 30 | 70
12 | DSHS2069 | 1100 W University Way Ellensburg, WA 98926-3692 | Dan Haberman (IT) 509-665-5272 HaberDE@dshs.wa.gov For Bldg access: Jeff Hills 509-723-6992 HillsJB@dshs.wa.gov Building owner/contact: Michael Nelson Nelson Realty Advisors LLC POB 53308, Bellevue, WA 98015 425-269-3331 | LAN Room, refer to LCON for details. Demarc to be located no further than 10ft of the DSHS router. | NO | 85 | 100M | 30 | 70 | This is a new site under construction. Customer request completion by: 12/15/18. | No |  |  |  | 0 | [10 empty] | 85 | 0 | 30 | 70
13 | DSHS2070 | 1210 W University Way Ellensburg, WA 98926-3692 | Shannon Block (IT) 360-890-6616 BlockSL@dshs.wa.gov For Bldg access: Jeff Hills 509-723-6992 HillsJB@dshs.wa.gov Building owner/contact: Michael Nelson Nelson Realty Advisors LLC POB 53308, Bellevue, WA 98015 425-269-3331 | LAN Room, refer to LCON for details. Demarc to be located no further than 10ft of the DSHS router. | NO | 70 | 100M | 30 | 70 | This is a new site under construction. Customer request completion by: 12/1/18. Occupants of the bldg is DCYF; however, DSHS will be sharing space. | No |  |  |  | 0 | [10 empty] | 70 | 0 | 30 | 70
14 | DSHS6137 | 2507 3rd St Port Townsend, WA 98368 | Marc Schuh 360-473-2207 Cell 360-271-9233 - on-site as needed, advanced planning for access will be required Building owner/contact: Nelson Realty Advisors LLC Chris Templeton (O) 253-983-6207 (C) 253-355-5035 | LAN Room, refer to attached floor plan. Demarc to be located no further than 10ft of the DSHS router. | YES | 100 | 100M | 10 | 90 | This is a new site under construction. | No |  |  |  | 0 | [10 empty] | 100 | 0 | 10 | 90
15 | ATGBEL | 1440 10th St Bellingham, WA 98225-7028 | Mark Koenig 360-664-0172 markk@atg.wa.gov | LAN Room, Bldg 1440, 1st floor | NO | 100 | 100M | 10 | 90 |  | Yes | 90 | Fiber | 685 | 0 | [6 empty] | 1070 | 500 | 60 | x | 90 | 16440 | 10 | 90
16 | DSHS4004 | 100 W Harrison St Seattle, WA 98119-4116 | Ken-Dall Lock 360-890-6616 ken-dall.lock@dcyf.wa.gov Building contact: John DeHart (O) 206-386-5100 (C) 206-510-5066 | LAN Room, Bldg 100 - occupied by DCYF. Demarc to be located no further than 10ft of the DSHS router. | NO | 100 | 100M | 10 | 90 | Customer request Vendor to present installation design/drawing prior to work being done. Vendor to contact Building owner/Property Mngmt contact for any changes to leased property. | No |  |  |  | 0 | [10 empty] | 100 | 0 | 10 | 90
17 | DSHS2002 | 7200 W Nob Hill Blvd, Ste 12 Meadowbrook Mall Yakima, WA 98908-1928 | Toby Treat 509-965-0105 or Cell 509-594-8713 treattf@dshs.wa.gov Alt. Contacts: Kelly Armstrong 360-725-2463 ArmstEK@dshs.wa.gov Josh Swenson 360-725-2452 swensjd@dshs.wa.gov | LAN Room, Suite 12. This is an AAA Building - SE WA Area Agency on Aging. Demarc to be located no further than 10ft of the DSHS router. | NO | 100 | 100M | 10 | 90 |  | Yes |  | Fiber | 954 | 0 | [6 empty] | 1580 | 500 | 60 | x | 100 | 22896 | 10 | 90
18 | DSHS2033 | 315 Holton Ave, Ste 200 Yakima, WA 98902-3240 | Glenn Moller 509-728-4205 glenn.moller@dshs.wa.gov DCYF facility contact: Rocky Holbrook 360-239-7611 john.holbrook@dcyf.wa.gov or Facilities manager: Jeff Willis 360-338-5095 willijm@dcyf.wa.gov | LAN Room, 2nd flr, Suite 200. This space is occupied by DCYF only, and are handling the facility lease for this site. Demarc to be located no further than 10ft of the DSHS router. | NO | 100 | 100M | 10 | 90 |  | Yes |  | Fiber | 774 | 0 | [6 empty] | 1150 | 500 | 75 | X | 100 | 18576 | 10 | 90
19 | DSHS2043 | 3611 River Rd, Ste 200 Yakima, WA 98902-7350 | John Everts 509-225-4438 Evertjc@dshs.wa.gov Building contact: Kirk Michels 509-839-2244 kirk@ms-cpas.net | LAN Room, Suite 200. Refer to the attached floor plan. Demarc to be located no further than 10ft of the DSHS router. | YES | 100 | 100M | 10 | 90 | Customer building lease will expire 12/31/19, and customer expects to move out around this same time. WaTech will only accept TLA thru 12/31/2019 for this service. | No |  |  |  | 0 | [10 empty] | 100 | 0 | 10 | 90
20 | LNIYAK | 1015 S 16th Ave Yakima, WA 98902-5316 | Jerry Swenson 360-902-5993 jerry.swenson@lni.wa.gov | LAN Room, Bldg 1015 | NO | 100 | 100M | 10 | 90 |  | No |  |  |  | 0 | [10 empty] | 100 | 0 | 10 | 90
21 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
22 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
23 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
24 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
25 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0
26 | [14 empty] | 0 | [10 empty] | 0 | 0 | 0 | 0

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only