## New
Evaluation Model for Solicitation Number N21-RFQ-019
| CTS to Complete | [9 empty] | Vendor to Complete
[8 empty] | Scoring | [6 empty] | Supplemental Bandwidth Examples (M) See Section B, Subsection 4 of the RFQ |  | Evaluation Values
| Site Name | Site Address | Site Contact(s) | Service to terminate to this location: | Floor Map Included (Y/N) | Guaranteed Install Interval (days) | Initial Proposed Bandwidth | Timeline Points | Cost Points | Special Mandatory Requirements- (such as special term length, E-rate site, background check needed, optical handoff type, diverse path, site survey required, etc.) | (MS) If Vendor can commit to a shorter Install Interval, please state the number of days. | (M) Local loop type to the site address (fiber, copper, or fixed wireless) | (MS) MRC | (MS) NRC | MRC (100M) | MRC (1G) | Timeline | Cost | Timeline Points | Cost Points
1 | Example1234 | 1500 Lincoln Ave SW Olympia, WA 98504 | Mr. John Doe 360-555-1234 email@email.com | Install extended handoff per attached site map (DOLC0518 Floor plan.pdf) | YES | 120 | 10M | 10 | 90 | 1. The Vendor shall: | 20 | Fiber | 500 | 1000 | 1000 | 1800 | 20 | 13000 | 10 | 90
2 | DOLD0502 | 421 5th Ave. Forks, WA 98331 | DOL Network team (360)664-4904 DLISNetTelSup@dol.wa.gov | Install extended handoff per attached site map and within 10 FT of DOL router. Install extended handoff per attached site map (DOLD0502 – Forks Office layout.pdf) | YES | 150 | 10M | 5 | 95 | This request is for a redundant / diverse circuit for this site. Existing Primary circuit is provided by StarTouch. Proposed solution must not utilize StarTouch. | 120 | Fiber | 500 | 0 | 2000 | 6000 | 120 | 12000 | 5 | 95
3 | ESD0505 | 810 West Brackett Road Sequim WA 98382 | Chris Lattin (360) 584-2266 clattin@esd.wa.gov Facility Contact: Martin Fryer 360-584-7430 | Deliver services directly into the LAN room. Install extended handoff per attached site map (ESD0505.pdf) | YES | 150 | 100M | 5 | 95 | Deliver services directly into the LAN room with all powered Network devices and battery backup systems; If all equipment is not installed into the ESD LAN room, a simple diagram of how the service comes into the building along with how it gets to ESD should be provided before acceptance. All vendor services are expected to be secure if placed outside of ESD's LAN room. Vendors will notify ESD 72 hours prior to site access visits. Equipment needs to be logged when adding to or removing from all ESD locations. | 150 | Fiber | 700 | 8700 | 700 | 2214 | 150 | 25500 | 5 | 95
4 | ESD1714 | 1660 S Columbian Way Seattle, WA 98108 | Chris Lattin (360) 584-2266 clattin@esd.wa.gov Building Contact: Luke Kravitz 360-489-4092 | Deliver services directly into the LAN room | NO | 150 | 100M | 5 | 95 | All building improvements/ construction to this site will need to be approved by: Luke Kravitz 360-489-4092. Circuit handoff to be located no further than 6 feet of ESD equipment. Deliver services directly into the LAN room with all powered Network devices and battery backup systems; If all equipment is not installed into the ESD LAN room, a simple diagram of how the service comes into the building along with how it gets to ESD should be provided before acceptance. All vendor services are expected to be secure if placed outside of ESD's LAN room. | 150 | Fiber | 1070 | 1650 | N/A | 2700 | 150 | 27330 | 5 | 95
5 | DOCWAL1 | Washington State Penitentiary (WSP) 1313 N 13th Ave Walla Walla, WA 99362-8817 | LCON: Gerardo Schimpf 509-524-7676 gjschimpf@doc1.wa.gov | Telecom Building (J40) shown on site map. Install extended handoff per attached site map (DOCWAL1 sitemap.pdf) | YES | 150 | 1000M (1G) | 5 | 95 |  | 150 | Fiber | 1350 | 16500 | 600 | N/A | 150 | 0 | 5 | 95
6 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
7 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
8 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
9 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
10 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
11 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
12 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
13 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
14 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
15 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
16 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
17 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
18 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
19 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
20 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
21 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
22 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
23 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
24 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
25 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
26 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
27 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
28 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
29 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only