## Individual Pricing
Site | Site Representative | Site Representative Contact Info | (CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Node Site (Section D3) | (CTS) Terminating Port Type (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) SWO Length (Section D6) | (CTS) Order New or Upgrade (Section D7) | (CTS) Total number of VLANs required (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (Vendor) Mandatory (Section D11) | (Vendor) Mandatory (Section D12) | (CTS) Modified NRC (Section D13) | (Vendor) Mandatory (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) Modified DMARC (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) Aggregation Trunk Charges (Section D18) | (Vendor) Mandatory (Section D19) | (Vendor) Mandatory (Section D20) | (Vendor) Mandatory (Section D21) | (CTS) Modified TLA Costs (Section D22) | (Vendor) Mandatory (Section D23) | (CTS) Modified Other (Section D24) | (Vendor) Mandatory (Section D25) | (CTS) Special Requirements (Section D26)
Customer Site name | Site Representative | Site Representative Contact Info | Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | Circuit Order (New Or Upgrade) | Total number of VLANs | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes |  | VLAN Charge | DMARC Cost |  | Size of Trunk- 1 or 10 gigabit (Node Site end) and Trunk Identifier |  | Existing Circuit End Date XX/XX/XXXX | Existing Circuit TLA (Cost) $XXX.XX | Waive TLA Cost (Y/N) |  | Other Charges |  | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper | Any non-standard requirements | Total
DOLC3101 | Walkley Ute Padilla | (425) 388-3371 | Snohomish County Auditor's Office, 3000 Rockefeller Ave, Everett, WA 98201-4046 | 10mb | Olympia | Copper | n | 24 | New | 1 | NO BID | [16 empty] | Vendor to extend DEMARC to within 10 ft of current connection per LCON and attached site map - vendor must contact LCON at least 3 days prior to needed access.
ESD3801 | Chris Lattin | (360) 407-4429 | 350 Fairmont Road, Pullman, WA 99163-5500 | 10mb | Olympia | Copper | n | 12 | New | 1 | NO BID | [16 empty] | Copper Handoff Required. Vendor must contact LCON at least 3 days in advance for site access. Vendor must provide 4-Hours of UPS support for their equipment. Please see attached site maps for location of circuit extension (customer equipment). Please note, this site has an existing circuit with a contract that expires in April 2017.
ESD3801 | Chris Lattin | (360) 407-4429 | 350 Fairmont Road, Pullman, WA 99163-5500 | 10mb | Olympia | Copper | n | 24 | New | 1 | NO BID | [16 empty] | Copper Handoff Required. Vendor must contact LCON at least 3 days in advance for site access. Vendor must provide 4-Hours of UPS support for their equipment. Please see attached site maps for location of circuit extension (customer equipment). Please note, this site has an existing circuit with a contract that expires in April 2017.
DOLC2602 | Sandy Hutchinson | (509) 442-3611 | Town of Ione, 207 Houghton Street, Ione, WA 99139 | 10mb | Olympia | Copper | n | 24 | New | 1 | NO BID | [16 empty] | Vendor to extend Demarc to within 10 feet of site router located as indicated by attached drawing and per LCON. -- Vendor and/or their contractors must contact the site representative at least 3 days prior to needed site access.
DSHS1035 | Josh Hamilton | (509) 886-0700 x226 or (509) 264-7687 | 50 Simon St SE, East Wenatchee, WA 98802-7734 | 100mb | Olympia | Copper | n | 12 | Upgrade | 1 | 489 | 40.1 | 125 | 10.25 |  | N/A | N/A |  | 10G/OLYWESWS-10G-062016 |  | N/A | 953.7 | Y |  | N/A |  | Copper/Ethernet | ***This is an upgrade to 100M Ethernet order. This site has an existing 10M Ethernet still under contract. Therefore, incumbent vendor has to include TLA charges in the quote (if applicable).*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Bldg 50. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS1035 | Josh Hamilton | (509) 886-0700 x226 or (509) 264-7687 | 50 Simon St SE, East Wenatchee, WA 98802-7734 | 100mb | Olympia | Copper | n | 24 | Upgrade | 1 | 425 | 34.85 | 125 | 10.25 |  | N/A | N/A |  | 10G/OLYWESWS-10G-062016 |  | N/A | 953.7 | Y |  | N/A |  | Copper/Ethernet | ***This is an upgrade to 100M Ethernet order. This site has an existing 10M Ethernet still under contract. Therefore, incumbent vendor has to include TLA charges in the quote (if applicable).*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Bldg 50. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6122 | Gabe Shanafelt or Dave Petty or Alfonso M | (360) 725-2462 or (360) 725-2453 or (360) 725-3447 | 4317 6th Ave SE, 1st Floor, Lacey, WA 98503-1019 | 100mb | Olympia | Copper | n | 12 | New | 1 | NO BID | [16 empty] | Vendors are strongly urged to perform a site survey to confirm building entrance options for their proposed solution. Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, 1st Floor, Bldg 4317. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6122 | Gabe Shanafelt or Dave Petty or Alfonso M | (360) 725-2462 or (360) 725-2453 or (360) 725-3447 | 4317 6th Ave SE, 1st Floor, Lacey, WA 98503-1019 | 100mb | Olympia | Copper | n | 24 | New | 1 | NO BID | [16 empty] | Vendors are strongly urged to perform a site survey to confirm building entrance options for their proposed solution. Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, 1st Floor, Bldg 4317. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.

## Grouped Pricing (hidden)
(CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Terminating Node Site (Section D3) | (CTS) Service Termination (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) Supplemental Work Order Term (Section D6) | (Vendor) Mandatory (Section D7) | (Vendor) Mandatory (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (CTS) (Section D11) | (Vendor) Mandatory (Section D12) | (Vendor) Mandatory (Section D13) | (CTS) (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) (Section D18) | (Vendor) Mandatory (Section D19)
Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes | Modified NRC | VLAN Charge (if applicable) | DMARC Cost (if applicable) | Modified DMARC | Size of Trunk- 1 or 10 gigabit (Node Site end) | Aggregation Trunk Charges | Other Charges (if applicable) | Modified Other | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper