## Individual Pricing
Site | Site Representative | Site Representative Contact Info | (CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Node Site (Section D3) | (CTS) Terminating Port Type (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) SWO Length (Section D6) | (CTS) Order New or Upgrade (Section D7) | (CTS) Total number of VLANs required (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (Vendor) Mandatory (Section D11) | (Vendor) Mandatory (Section D12) | (CTS) Modified NRC (Section D13) | (Vendor) Mandatory (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) Modified DMARC (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) Aggregation Trunk Charges (Section D18) | (Vendor) Mandatory (Section D19) | (Vendor) Mandatory (Section D20) | (Vendor) Mandatory (Section D21) | (CTS) Modified TLA Costs (Section D22) | (Vendor) Mandatory (Section D23) | (CTS) Modified Other (Section D24) | (Vendor) Mandatory (Section D25) | (CTS) Special Requirements (Section D26)
Customer Site name | Site Representative | Site Representative Contact Info | Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | Circuit Order (New Or Upgrade) | Total number of VLANs | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes |  | VLAN Charge | DMARC Cost |  | Size of Trunk- 1 or 10 gigabit (Node Site end) and Trunk Identifier |  | Existing Circuit End Date XX/XX/XXXX | Existing Circuit TLA (Cost) $XXX.XX | Waive TLA Cost (Y/N) |  | Other Charges |  | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper | Any non-standard requirements | Total
DSHS5027 | Bill Sims | (253) 404-5561 / Cell (253) 405-7892 | 1305 Tacoma Ave S, Suite 300, Tacoma, WA 98402-1903 | 100mb | Olympia | Copper | n | 12 | Upgrade | 1 | No bid | [16 empty] | ***This is a 100M Ethernet upgrade request. This site has an existing 10M still under contract. Incumbent vendor must include TLA charges in the quote (if applicable).*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Suite 300. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS5027 | Bill Sims | (253) 404-5561 / Cell (253) 405-7892 | 1305 Tacoma Ave S, Suite 300, Tacoma, WA 98402-1903 | 100mb | Olympia | Copper | n | 24 | Upgrade | 1 | No bid | [16 empty] | ***This is a 100M Ethernet upgrade request. This site has an existing 10M still under contract. Incumbent vendor must include TLA charges in the quote (if applicable).*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Suite 300. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS5027 | Bill Sims | (253) 404-5561 / Cell (253) 405-7892 | 1305 Tacoma Ave S, Suite 300, Tacoma, WA 98402-1903 | 1000mb (1Gb) | Olympia | Copper | n | 12 | Upgrade | 1 | No bid | [16 empty] | ***This is a 1G Ethernet upgrade request. This site has an existing 10M still under contract. Incumbent vendor must include TLA charges in the quote (if applicable).*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Suite 300. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS5027 | Bill Sims | (253) 404-5561 / Cell (253) 405-7892 | 1305 Tacoma Ave S, Suite 300, Tacoma, WA 98402-1903 | 1000mb (1Gb) | Olympia | Copper | n | 24 | Upgrade | 1 | No bid | [16 empty] | ***This is a 1G Ethernet upgrade request. This site has an existing 10M still under contract. Incumbent vendor must include TLA charges in the quote (if applicable).*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Suite 300. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DOLD3903 | Eric Zehnder | (509) 837-2577 | 2010 Yakima Valley Hwy, Suite 15, Sunnyside, WA 98944-1289 | 10mb | Olympia | Copper | n | 24 | New | 1 | 663 | 66.3 | 123500 | 12350 |  | 0 | 0 |  | 10G SDC/SDC/XCT00003635.0 |  | N/A | N/A | N/A |  | N/A |  | Fiber | Vendor to extend DEMARC to within 10 ft of existing connection in data rack per attached suite map for suite 15 and per LCON - vendor must contact LCON at least 3 days in advance of needed access.
DSHS2008 | Harlan Hames | (509) 839-7213 | 2010 Yakima Valley Hwy, Suite K15, Sunnyside, WA 98944-1289 | 10mb | Olympia | Copper | n | 24 | New | 1 | 663 | 66.3 | 123500 | 12350 |  | 0 | 0 |  | 10G SDC/SDC/XCT00003635.0 |  | N/A | N/A | N/A |  | N/A |  | Fiber | Copper handoff required. Vendor switch must be within 10ft of the customer router. DEMARC Extend Details: LAN Room, Suite #K15. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS2008 | Harlan Hames | (509) 839-7213 | 2010 Yakima Valley Hwy, Suite K15, Sunnyside, WA 98944-1289 | 10mb | Olympia | Copper | n | 12 | New | 1 | 663 | 66.3 | 123500 | 12350 |  | 0 | 0 |  | 10G SDC/SDC/XCT00003635.0 |  | N/A | N/A | N/A |  | N/A |  | Fiber | Copper handoff required. Vendor switch must be within 10ft of the customer router. DEMARC Extend Details: LAN Room, Suite #K15. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS2008 | Harlan Hames | (509) 839-7213 | 2010 Yakima Valley Hwy, Suite K15, Sunnyside, WA 98944-1289 | 100mb | Olympia | Copper | n | 12 | New | 1 | 1326 | 132.6 | 123500 | 12350 |  | 0 | 0 |  | 10G SDC/SDC/XCT00003635.0 |  | N/A | N/A | N/A |  | N/A |  | Fiber | Copper handoff required. Vendor switch must be within 10ft of the customer router. DEMARC Extend Details: LAN Room, Suite #K15. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS2008 | Harlan Hames | (509) 839-7213 | 2010 Yakima Valley Hwy, Suite K15, Sunnyside, WA 98944-1289 | 100mb | Olympia | Copper | n | 24 | New | 1 | 1326 | 132.6 | 123500 | 12350 |  | 0 | 0 |  | 10G SDC/SDC/XCT00003635.0 |  | N/A | N/A | N/A |  | N/A |  | Fiber | Copper handoff required. Vendor switch must be within 10ft of the customer router. DEMARC Extend Details: LAN Room, Suite #K15. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DOLD0802 | Dan Schilter | (360) 578-1437 | 214 S Kelso Dr, Suite 236, Kelso, WA 98626-3112 | 10Mb | Olympia | Copper | n | 24 | New | 1 | No bid | [16 empty] | This site is currently under contract until April 2017. Vendor to extend DEMARC to telco room per attached site map - vendor must contact LCON for access at least 3 days before needed access.
DOLC1737 | Cameron Wachter | (425) 369-0409 | Alpine Management Services, Inc., 1175 NW Gilman Blvd, Suite B-3, Issaquah, WA 98027-8922 | 10Mb | Olympia | Copper | n | 24 | New | 1 | No bid | [16 empty] | This site is currently under contract until March 2017. Vendor to extend DEMARC to telco room per attached site map - vendor must contact LCON for access at least 3 days before needed access.

## Grouped Pricing (hidden)
(CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Terminating Node Site (Section D3) | (CTS) Service Termination (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) Supplemental Work Order Term (Section D6) | (Vendor) Mandatory (Section D7) | (Vendor) Mandatory (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (CTS) (Section D11) | (Vendor) Mandatory (Section D12) | (Vendor) Mandatory (Section D13) | (CTS) (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) (Section D18) | (Vendor) Mandatory (Section D19)
Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes | Modified NRC | VLAN Charge (if applicable) | DMARC Cost (if applicable) | Modified DMARC | Size of Trunk- 1 or 10 gigabit (Node Site end) | Aggregation Trunk Charges | Other Charges (if applicable) | Modified Other | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper