## Individual Pricing
Site | Site Representative | Site Representative Contact Info | (CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Node Site (Section D3) | (CTS) Terminating Port Type (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) SWO Length (Section D6) | (CTS) Order New or Upgrade (Section D7) | (CTS) Total number of VLANs required (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (Vendor) Mandatory (Section D11) | (Vendor) Mandatory (Section D12) | (CTS) Modified NRC (Section D13) | (Vendor) Mandatory (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) Modified DMARC (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) Aggregation Trunk Charges (Section D18) | (Vendor) Mandatory (Section D19) | (Vendor) Mandatory (Section D20) | (Vendor) Mandatory (Section D21) | (CTS) Modified TLA Costs (Section D22) | (Vendor) Mandatory (Section D23) | (CTS) Modified Other (Section D24) | (Vendor) Mandatory (Section D25) | (CTS) Special Requirements (Section D26)
Customer Site name | Site Representative | Site Representative Contact Info | Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | Circuit Order (New Or Upgrade) | Total number of VLANs | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes |  | VLAN Charge | DMARC Cost |  | Size of Trunk- 1 or 10 gigabit (Node Site end) and Trunk Identifier |  | Existing Circuit End Date XX/XX/XXXX | Existing Circuit TLA (Cost) $XXX.XX | Waive TLA Cost (Y/N) |  | Other Charges |  | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper | Any non-standard requirements | Total
DSHS4045 | Mike Davis | (253) 761-3337 | 110 Prefontaine Pl S, Suite 608 - LAN Room , Seattle, WA 98104-2626 | 10mb | Olympia | Copper | n | 12 | New | 1 | NO BID | [16 empty] | Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: Suite 608 - LAN Room, Bldg 110. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS4045 | Mike Davis | (253) 761-3337 | 110 Prefontaine Pl S, Suite 608 - LAN Room , Seattle, WA 98104-2626 | 10mb | Olympia | Copper | n | 24 | New | 1 | NO BID | [16 empty] | Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: Suite 608 - LAN Room, Bldg 110. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS4045 | Mike Davis | (253) 761-3337 | 110 Prefontaine Pl S, Suite 608 - LAN Room , Seattle, WA 98104-2626 | 100mb | Olympia | Copper | n | 12 | New | 1 | NO BID | [16 empty] | Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: Suite 608 - LAN Room, Bldg 110. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS4045 | Mike Davis | (253) 761-3337 | 110 Prefontaine Pl S, Suite 608 - LAN Room , Seattle, WA 98104-2626 | 100mb | Olympia | Copper | n | 24 | New | 1 | NO BID | [16 empty] | Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: Suite 608 - LAN Room, Bldg 110. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6062 | Maria Koury-Corvall or Brenda Parks | (360) 538-2442 or (360) 538-2450 | 2700 Simpson Ave, Suite 205 DMARC, Aberdeen, WA 98520-4333 | 10mb | Olympia | Copper | n | 12 | New | 1 | NO BID | [16 empty] | Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: Suite 205 DMARC, Bldg 2700. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6062 | Maria Koury-Corvall or Brenda Parks | (360) 538-2442 or (360) 538-2450 | 2700 Simpson Ave, Suite 205 DMARC, Aberdeen, WA 98520-4333 | 10mb | Olympia | Copper | n | 24 | New | 1 | NO BID | [16 empty] | Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: Suite 205 DMARC, Bldg 2700. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6062 | Maria Koury-Corvall or Brenda Parks | (360) 538-2442 or (360) 538-2450 | 2700 Simpson Ave, Suite 205 DMARC, Aberdeen, WA 98520-4333 | 100mb | Olympia | Copper | n | 12 | New | 1 | NO BID | [16 empty] | Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: Suite 205 DMARC, Bldg 2700. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6062 | Maria Koury-Corvall or Brenda Parks | (360) 538-2442 or (360) 538-2450 | 2700 Simpson Ave, Suite 205 DMARC, Aberdeen, WA 98520-4333 | 100mb | Olympia | Copper | n | 24 | New | 1 | NO BID | [16 empty] | Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: Suite 205 DMARC, Bldg 2700. Refer to LCON for instructions on circuit termination. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DOLC1731 | Maurice | (425) 747-0444 | Bel-Red Auto License, 15600 NE 8th St, STE K-16, Bellevue, WA 98008-3946 | 10mb | Olympia | Copper | n | 24 | New | 1 | NO BID | [16 empty] | This site is currently under contract until May 2017 - Vendor to extend DEMARC to within 10 ft of current connection per attached site map and Per LCON - Vendor must contact LCON at least 3 days prior to needed access.
DOLC1722 | Dick Franklin | (206) 463-2435 | International Development Services, Inc., 17602 99th Pl SW, Vashon, WA 98070 | 10mb | Olympia | Copper | n | 24 | New | 1 | NO BID | [16 empty] | Vendor to extend DEMARC to within 10 ft of current connection per attached site map and Per LCON - Vendor must contact LCON at least 3 days prior to needed access.
DFWREG5 | Nikki Derringer | (360) 902-2581 | 5525 S 11th Street, Ridgefield, WA 98642 | 100mb | Olympia | Copper | n | 12 | New | 1 | 1695 | 142.38 | 2200 | 184.8 |  | N/A | N/A |  | 10G/OLYWESWS-10G-062016 |  | N/A | N/A | N/A |  | N/A |  | Copper/Ethernet | Copper handoff required. Site is currently under contract until August 2017, but is moving to a new address. This site is new construction - Please reference attached site map. Circuit needs to be terminated in the IT room which is highlighted in Pink. Vendor must provide 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access.
DFWREG5 | Nikki Derringer | (360) 902-2581 | 5525 S 11th Street, Ridgefield, WA 98642 | 100mb | Olympia | Copper | n | 24 | New | 1 | 1495 | 125.58 | 2200 | 184.8 |  | N/A | N/A |  | 10G/OLYWESWS-10G-062016 |  | N/A | N/A | N/A |  | N/A |  | Copper/Ethernet | Copper handoff required. Site is currently under contract until August 2017, but is moving to a new address. This site is new construction - Please reference attached site map. Circuit needs to be terminated in the IT room which is highlighted in Pink. Vendor must provide 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access.
DFWREG5 | Nikki Derringer | (360) 902-2581 | 5525 S 11th Street, Ridgefield, WA 98642 | 100mb | Olympia | Copper | n | 36 | New | 1 | 1389 | 116.68 | 1800 | 151.2 |  | N/A | N/A |  | 10G/OLYWESWS-10G-062016 |  | N/A | N/A | N/A |  | N/A |  | Copper/Ethernet | Copper handoff required. Site is currently under contract until August 2017, but is moving to a new address. This site is new construction - Please reference attached site map. Circuit needs to be terminated in the IT room which is highlighted in Pink. Vendor must provide 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access.

## Grouped Pricing (hidden)
(CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Terminating Node Site (Section D3) | (CTS) Service Termination (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) Supplemental Work Order Term (Section D6) | (Vendor) Mandatory (Section D7) | (Vendor) Mandatory (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (CTS) (Section D11) | (Vendor) Mandatory (Section D12) | (Vendor) Mandatory (Section D13) | (CTS) (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) (Section D18) | (Vendor) Mandatory (Section D19)
Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes | Modified NRC | VLAN Charge (if applicable) | DMARC Cost (if applicable) | Modified DMARC | Size of Trunk- 1 or 10 gigabit (Node Site end) | Aggregation Trunk Charges | Other Charges (if applicable) | Modified Other | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper