## Individual Pricing
Site | Site Representative | Site Representative Contact Info | (CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Node Site (Section D3) | (CTS) Terminating Port Type (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) SWO Length (Section D6) | (CTS) Order New or Upgrade (Section D7) | (CTS) Total number of VLANs required (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (Vendor) Mandatory (Section D11) | (Vendor) Mandatory (Section D12) | (CTS) Modified NRC (Section D13) | (Vendor) Mandatory (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) Modified DMARC (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) Aggregation Trunk Charges (Section D18) | (Vendor) Mandatory (Section D19) | (Vendor) Mandatory (Section D20) | (Vendor) Mandatory (Section D21) | (CTS) Modified TLA Costs (Section D22) | (Vendor) Mandatory (Section D23) | (CTS) Modified Other (Section D24) | (Vendor) Mandatory (Section D25) | (CTS) Special Requirements (Section D26)
Customer Site name | Site Representative | Site Representative Contact Info | Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | Circuit Order (New Or Upgrade) | Total number of VLANs | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes |  | VLAN Charge | DMARC Cost |  | Size of Trunk- 1 or 10 gigabit (Node Site end) and Trunk Identifier |  | Existing Circuit End Date XX/XX/XXXX | Existing Circuit TLA (Cost) $XXX.XX | Waive TLA Cost (Y/N) |  | Other Charges |  | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper | Any non-standard requirements | Total
LNISLV | Jerry Swenson | (360) 902-5993 | 10049 Kitsap Mall Blvd NW, Silverdale, WA 98383-8903 | 10mb | Olympia | Copper | n | 12 | New | 1 | [17 empty] | Copper Handoff Required. Vendor must provide 4 hour UPS for their equipment. Circuit must be extended to Data Room per attached site map. Vendor must provide LCON with 72 hours advanced notice for site access.
LNISLV | Jerry Swenson | (360) 902-5993 | 10049 Kitsap Mall Blvd NW, Silverdale, WA 98383-8903 | 10mb | Olympia | Copper | n | 24 | New | 1 | [17 empty] | Copper Handoff Required. Vendor must provide 4 hour UPS for their equipment. Circuit must be extended to Data Room per attached site map. Vendor must provide LCON with 72 hours advanced notice for site access.
LNISLV | Jerry Swenson | (360) 902-5993 | 10049 Kitsap Mall Blvd NW, Silverdale, WA 98383-8903 | 10mb | Olympia | Copper | n | 36 | New | 1 | [17 empty] | Copper Handoff Required. Vendor must provide 4 hour UPS for their equipment. Circuit must be extended to Data Room per attached site map. Vendor must provide LCON with 72 hours advanced notice for site access.
LNISLV | Jerry Swenson | (360) 902-5993 | 10049 Kitsap Mall Blvd NW, Silverdale, WA 98383-8903 | 100mb | Olympia | Copper | n | 12 | New | 1 | [17 empty] | Copper Handoff Required. Vendor must provide 4 hour UPS for their equipment. Circuit must be extended to Data Room per attached site map. Vendor must provide LCON with 72 hours advanced notice for site access.
LNISLV | Jerry Swenson | (360) 902-5993 | 10049 Kitsap Mall Blvd NW, Silverdale, WA 98383-8903 | 100mb | Olympia | Copper | n | 24 | New | 1 | [17 empty] | Copper Handoff Required. Vendor must provide 4 hour UPS for their equipment. Circuit must be extended to Data Room per attached site map. Vendor must provide LCON with 72 hours advanced notice for site access.
LNISLV | Jerry Swenson | (360) 902-5993 | 10049 Kitsap Mall Blvd NW, Silverdale, WA 98383-8903 | 100mb | Olympia | Copper | n | 36 | New | 1 | [17 empty] | Copper Handoff Required. Vendor must provide 4 hour UPS for their equipment. Circuit must be extended to Data Room per attached site map. Vendor must provide LCON with 72 hours advanced notice for site access.
LNISQM | Jerry Swenson | (360) 902-5993 | 540 W Washington Street, Sequim, WA 98382-3279 | 10mb | Olympia | Copper | n | 12 | New | 1 | [17 empty] | Copper Handoff Required. Vendor must provide 4 hour UPS for their equipment. Circuit must be extended to LAN Room per attached site map. Vendor must provide LCON with 72 hours advanced notice for site access.
LNISQM | Jerry Swenson | (360) 902-5993 | 540 W Washington Street, Sequim, WA 98382-3279 | 10mb | Olympia | Copper | n | 24 | New | 1 | [17 empty] | Copper Handoff Required. Vendor must provide 4 hour UPS for their equipment. Circuit must be extended to LAN Room per attached site map. Vendor must provide LCON with 72 hours advanced notice for site access.
LNISQM | Jerry Swenson | (360) 902-5993 | 540 W Washington Street, Sequim, WA 98382-3279 | 10mb | Olympia | Copper | n | 36 | New | 1 | [17 empty] | Copper Handoff Required. Vendor must provide 4 hour UPS for their equipment. Circuit must be extended to LAN Room per attached site map. Vendor must provide LCON with 72 hours advanced notice for site access.
LNISQM | Jerry Swenson | (360) 902-5993 | 540 W Washington Street, Sequim, WA 98382-3279 | 100mb | Olympia | Copper | n | 12 | New | 1 | [17 empty] | Copper Handoff Required. Vendor must provide 4 hour UPS for their equipment. Circuit must be extended to LAN Room per attached site map. Vendor must provide LCON with 72 hours advanced notice for site access.
LNISQM | Jerry Swenson | (360) 902-5993 | 540 W Washington Street, Sequim, WA 98382-3279 | 100mb | Olympia | Copper | n | 24 | New | 1 | [17 empty] | Copper Handoff Required. Vendor must provide 4 hour UPS for their equipment. Circuit must be extended to LAN Room per attached site map. Vendor must provide LCON with 72 hours advanced notice for site access.
LNISQM | Jerry Swenson | (360) 902-5993 | 540 W Washington Street, Sequim, WA 98382-3279 | 100mb | Olympia | Copper | n | 36 | New | 1 | [17 empty] | Copper Handoff Required. Vendor must provide 4 hour UPS for their equipment. Circuit must be extended to LAN Room per attached site map. Vendor must provide LCON with 72 hours advanced notice for site access.
DOLC1201 | Donna Deal | (509) 843-1411 | Garfield County Auditor Auto License - 789 Main Street, Pomeroy, WA 99347 | 10mb | Olympia | Copper | n | 24 | New | 1 | 420 | 0 | 500 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002571 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | This site under contract until end of April 2017 - Vendor to extend DEMARC to within 10 ft of current connection per attached site map and per LCON. Vendor must contact LCON at least 3 days prior for site access.
CJTC1701 | Travis Jones / Building contact: Bob Sanchez | (206) 835-7316 / (206) 439-3740 | 19010 1st Avenue South, Cascade Building - 1st Floor, Burien, WA 98148 | 100mb | Olympia | Copper | n | 12 | New | 1 | [17 empty] | ***The existing 100M at this site is under contract until 6/18/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Cascade Bldg, 1st Floor. Campus is owned and managed by the Criminal Justice Training Academy. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior for site access.
CJTC1701 | Travis Jones / Building contact: Bob Sanchez | (206) 835-7316 / (206) 439-3740 | 19010 1st Avenue South, Cascade Building - 1st Floor, Burien, WA 98148 | 100mb | Olympia | Copper | n | 24 | New | 1 | [17 empty] | ***The existing 100M at this site is under contract until 6/18/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Cascade Bldg, 1st Floor. Campus is owned and managed by the Criminal Justice Training Academy. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior for site access.
CJTC3401 | Travis Jones / Building contact: Kim Goodman | (206) 835-7316 / (360) 486-2380 | 3060 Willamette Drive NE, Lacey, WA 98516-6267 | 10mb | Olympia | Copper | n | 12 | New | 1 | [17 empty] | ***The existing 10M at this site is under contract until 7/8/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Bldg 3060. Building is owned by Washington Association of Sheriffs & Police Chiefs. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior for site access.
CJTC3401 | Travis Jones / Building contact: Kim Goodman | (206) 835-7316 / (360) 486-2380 | 3060 Willamette Drive NE, Lacey, WA 98516-6267 | 10mb | Olympia | Copper | n | 24 | New | 1 | [17 empty] | ***The existing 10M at this site is under contract until 7/8/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: LAN Room, Bldg 3060. Building is owned by Washington Association of Sheriffs & Police Chiefs. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS1036 | Russell Ehr and Justin Robertson | (509) 458-2509 ext. 245 or 264 | 1222 N Post St, 1st Floor - LAN Room, Spokane, WA 99201-2518 | 100mb | Olympia | Copper | n | 12 | Upgrade | 1 | [17 empty] | ***This is a 100M Ethernet upgrade order. This site has an existing 10M circuit under contract until 6/28/18. Incumbent vendor has to include TLA charges in their quote (if applicable)*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend required. DEMARC Details: Main Floor - LAN Room, 1st Floor. Current demarc is at the basement. New 100M circuit must be extended to the 1st floor - LAN Room. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior for site access.
DSHS1036 | Russell Ehr and Justin Robertson | (509) 458-2509 ext. 245 or 264 | 1222 N Post St, 1st Floor - LAN Room, Spokane, WA 99201-2518 | 100mb | Olympia | Copper | n | 24 | Upgrade | 1 | [17 empty] | ***This is a 100M Ethernet upgrade order. This site has an existing 10M circuit under contract until 6/28/18. Incumbent vendor has to include TLA charges in their quote (if applicable)*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend required. DEMARC Details: Main Floor - LAN Room, 1st Floor. Current demarc is at the basement. New 100M circuit must be extended to the 1st floor - LAN Room. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior for site access.
DOLC0801 | Amy Filippello | (360) 577-3008 | Cowlitz County Auditor - 207 N 4th Ave, Room 206, Kelso, WA 98626-4193 | 10mb | Olympia | Copper | n | 24 | New | 1 | [17 empty] | Vendor to extend DEMARC to within 10 ft of current connection per attached site map and per LCON. Vendor must contact LCON at least 3 days prior for needed access.
DOLC0802 | Patti or Cindy | (360) 557-3972 | C & L Auto Licensing - 957 14th Ave, Longview, WA 98632-2316 | 10mb | Olympia | Copper | n | 24 | New | 1 | [17 empty] | Vendor to extend DEMARC to within 10 ft of current connection per attached site map and per LCON. Vendor must contact LCON at least 3 days prior for needed access.

## Grouped Pricing (hidden)
(CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Terminating Node Site (Section D3) | (CTS) Service Termination (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) Supplemental Work Order Term (Section D6) | (Vendor) Mandatory (Section D7) | (Vendor) Mandatory (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (CTS) (Section D11) | (Vendor) Mandatory (Section D12) | (Vendor) Mandatory (Section D13) | (CTS) (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) (Section D18) | (Vendor) Mandatory (Section D19)
Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes | Modified NRC | VLAN Charge (if applicable) | DMARC Cost (if applicable) | Modified DMARC | Size of Trunk- 1 or 10 gigabit (Node Site end) | Aggregation Trunk Charges | Other Charges (if applicable) | Modified Other | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper