## Individual Pricing
Site | Site Representative | Site Representative Contact Info | (CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Node Site (Section D3) | (CTS) Terminating Port Type (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) SWO Length (Section D6) | (CTS) Order New or Upgrade (Section D7) | (CTS) Total number of VLANs required (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (Vendor) Mandatory (Section D11) | (Vendor) Mandatory (Section D12) | (CTS) Modified NRC (Section D13) | (Vendor) Mandatory (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) Modified DMARC (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) Aggregation Trunk Charges (Section D18) | (Vendor) Mandatory (Section D19) | (Vendor) Mandatory (Section D20) | (Vendor) Mandatory (Section D21) | (CTS) Modified TLA Costs (Section D22) | (Vendor) Mandatory (Section D23) | (CTS) Modified Other (Section D24) | (Vendor) Mandatory (Section D25) | (CTS) Special Requirements (Section D26)
Customer Site name | Site Representative | Site Representative Contact Info | Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | Circuit Order (New Or Upgrade) | Total number of VLANs | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes |  | VLAN Charge | DMARC Cost |  | Size of Trunk- 1 or 10 gigabit (Node Site end) and Trunk Identifier |  | Existing Circuit End Date XX/XX/XXXX | Existing Circuit TLA (Cost) $XXX.XX | Waive TLA Cost (Y/N) |  | Other Charges |  | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper | Any non-standard requirements | Total
DSHS6017 | Dan Poff | (360) 501-2405 | 2601 Pacific Ave N, Long Beach, WA 98631-3864 | 10mb | Olympia | Copper | n | 12 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | ***The existing 10M at this site is under contract until 6/21/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: 1st Floor - LAN Room. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6017 | Dan Poff | (360) 501-2405 | 2601 Pacific Ave N, Long Beach, WA 98631-3864 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | ***The existing 10M at this site is under contract until 6/21/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: 1st Floor - LAN Room. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6017 | Dan Poff | (360) 501-2405 | 2601 Pacific Ave N, Long Beach, WA 98631-3864 | 100mb | Olympia | Copper | n | 12 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | ***The existing 10M at this site is under contract until 6/21/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: 1st Floor - LAN Room. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6017 | Dan Poff | (360) 501-2405 | 2601 Pacific Ave N, Long Beach, WA 98631-3864 | 100mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | ***The existing 10M at this site is under contract until 6/21/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: 1st Floor - LAN Room. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DOLC3410 | Kay | (360) 791-3000 | Hawk's Prairie Licensing, 1401 Marvin Rd NE, Ste 105, Lacey, WA 98516-5711 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Site under contract until 6/9/17 - Vendor to extend DEMARC to with 10 ft of current connection per attached site map and per LCON - Vendor Must contact LCON at least 3 days prior to needed access.
DOLC3153 | Angie | (360) 691-7635 | Mail Zone Auto License Center, 16410 84th St NE, Ste D, Lake Stevens, WA 98258-9060 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to with 10 ft of current connection per attached site map and per LCON - Vendor Must contact LCON at least 3 days prior to needed access.
DOLC3412 | Monserrat | (360) 458-7000 | Yelm Community Services, 624 Crystal Springs Rd NW, Yelm, WA 98597 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to with 10 ft of current connection per attached site map and per LCON - Vendor Must contact LCON at least 3 days prior to needed access.
DOLC3413 | Janet | (360) 264-2575 | Heddens Pharmacy, Inc., 196 Sussex Ave W, Tenino, WA 98589-9327 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to with 10 ft of current connection per attached site map and per LCON - Vendor Must contact LCON at least 3 days prior to needed access.
DOLC3424 | Andrea | (360) 357-4201 | Ralph's Thriftway, 1910 4th Ave E, Olympia, WA 98506-4632 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to with 10 ft of current connection per LCON, the connection will need to be in the 2nd floor telco room - Vendor Must contact LCON at least 3 days prior to needed access.
DOLC3425 | Debbie | (360) 352-7170 | M & L Auto Licensing Agency, 100 Ruby St SE, Ste C, Tumwater, WA 98501-6724 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to with 10 ft of current connection per attached site map and per LCON - Vendor Must contact LCON at least 3 days prior to needed access.
DSHS6105 | Thien Tran | (360) 725-3654 | 4565 7th Ave SE, 1st Floor-LAN Room, Lacey, WA 98503-1075 | 10mb | Olympia | Copper | n | 12 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | ***The existing 10M at this site is under contract until 6/18/17. The new 10M will be a secondary/backup circuit. *** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: 1st Floor-LAN Room, Bldg 4565. Please refer to LCON for further details on circuit termination location. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6105 | Thien Tran | (360) 725-3654 | 4565 7th Ave SE, 1st Floor-LAN Room, Lacey, WA 98503-1075 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | ***The existing 10M at this site is under contract until 6/18/17. The new 10M will be a secondary/backup circuit. *** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: 1st Floor-LAN Room, Bldg 4565. Please refer to LCON for further details on circuit termination location. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6105 | Thien Tran | (360) 725-3654 | 4565 7th Ave SE, 1st Floor-LAN Room, Lacey, WA 98503-1075 | 100mb | Olympia | Copper | n | 12 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | ***The existing 10M at this site is under contract until 6/18/17. The new 10M will be a secondary/backup circuit. *** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: 1st Floor-LAN Room, Bldg 4565. Please refer to LCON for further details on circuit termination location. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6105 | Thien Tran | (360) 725-3654 | 4565 7th Ave SE, 1st Floor-LAN Room, Lacey, WA 98503-1075 | 100mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | ***The existing 10M at this site is under contract until 6/18/17. The new 10M will be a secondary/backup circuit. *** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: 1st Floor-LAN Room, Bldg 4565. Please refer to LCON for further details on circuit termination location. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6105 | Thien Tran | (360) 725-3654 | 4565 7th Ave SE, 1st Floor-LAN Room, Lacey, WA 98503-1075 | 1000mb (1Gb) | Olympia | Copper | n | 12 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | ***The existing 10M at this site is under contract until 6/18/17. The new 10M will be a secondary/backup circuit. *** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: 1st Floor-LAN Room, Bldg 4565. Please refer to LCON for further details on circuit termination location. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6105 | Thien Tran | (360) 725-3654 | 4565 7th Ave SE, 1st Floor-LAN Room, Lacey, WA 98503-1075 | 1000mb (1Gb) | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | ***The existing 10M at this site is under contract until 6/18/17. The new 10M will be a secondary/backup circuit. *** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. DEMARC Details: 1st Floor-LAN Room, Bldg 4565. Please refer to LCON for further details on circuit termination location. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DOLC3151 | Joseph Kunthara | (425) 742-0621 | Kunthara Auto License, 14920 Hwy 99, Ste 120, Lynnwood, WA 98087-5025 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to with 10 ft of current connection per attached site map and per LCON - Vendor Must contact LCON at least 3 days prior to needed access.
DOLC3150 | Julie or Brandon | (425) 252-3518 | Julie's Licensing Service, 1001 N Broadway, Ste A-7, Everett, WA 98201-1582 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to with 10 ft of current connection per attached site map and per LCON - Vendor Must contact LCON at least 3 days prior to needed access.
DOLC3144 | Christine Walters | (425) 774-7662 | Lynnwood Auto License, Inc., Inside Fred Meyer store, 4615 196th SW, Ste 150, Lynnwood, WA 98036-5591 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to with 10 ft of current connection per attached site map and per LCON - Vendor Must contact LCON at least 3 days prior to needed access.
DOLC3139 | Cole or Pat | (425) 670-3874 | McMahan License Agency, 22911 56th Ave W, Mountlake Terrace, WA 98043-3923 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to with 10 ft of current connection per attached site map and per LCON - Vendor Must contact LCON at least 3 days prior to needed access.
DOLC3124 | Rebecca | (425) 334-7311 | Village License Agency, Inc., 9327 4th St NE, Ste 7, Lake Stevens, WA 98258-1630 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | The existing 10M at this site is under contract until 5/8/17. Vendor to extend DEMARC to with 10 ft of current connection per attached site map and per LCON - Vendor Must contact LCON at least 3 days prior to needed access.
DOLC3110 | Mark, Viki or Michael | (425) 481-7113 | Canyon Park Licensing, LLC, 20631 Bothell Everett Hwy, Ste H, Bothell, WA 98012-7159 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to with 10 ft of current connection per attached site map and per LCON - Vendor Must contact LCON at least 3 days prior to needed access.
DOLC0404 | Donna | (509) 782-3454 | Wynne Bookkeeping, 5738 Vale Road, Cashmere, WA 98815 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to with 10 ft of current connection per attached site map and per LCON - Vendor Must contact LCON at least 3 days prior to needed access
DOLC0409 | Jason or Kim | (509) 682-5813 | Lake Chelan Licensing, LLC, 617 E Woodin Ave, Chelan, WA 98816 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to with 10 ft of current connection per attached site map and per LCON - Vendor Must contact LCON at least 3 days prior to needed access.
DOLC0401 | Nina or Skip | (509) 667-6810 | Chelan County Auditor Auto License, 350 Orondo Ave, Ste 202, Wenatchee, WA 98801-2885 | 10mb | Olympia | Copper | n | 24 | New | 1 | 291 | 23.86 | 0 | 0 |  | 0 | 0 |  | 10Gbps (CID# 2800-00) |  | 0 | 0 | 0 |  | 0 |  | Fiber | Vendor to extend DEMARC to with 10 ft of current connection per attached site map and per LCON - Vendor Must contact LCON at least 3 days prior to needed access.
DOCOKN1 | Josh LaBerge | (360) 725-8495 | 235 Pine Street, Okanogan, WA 98840 | 10mb | Olympia | Copper | n | 12 | New | 1 | 634 | 51.99 | 0 | 0 |  | 0 | 0 |  | 10Gbps (CID# 2800-00) |  | 0 | 0 | 0 |  | 0 |  | Fiber | **This site is moving. Existing circuit at old address is under contract until 8/11/2018.** Copper handoff required. Vendor must extend demarc to Telecom Room per attached site map. Vendor must provide 4 Hour UPS to their switch. Vendor must provide 72 hours advanced notice for access.
DOCOKN1 | Josh LaBerge | (360) 725-8495 | 235 Pine Street, Okanogan, WA 98840 | 10mb | Olympia | Copper | n | 24 | New | 1 | 609 | 49.94 | 0 | 0 |  | 0 | 0 |  | 10Gbps (CID# 2800-00) |  | 0 | 0 | 0 |  | 0 |  | Fiber | **This site is moving. Existing circuit at old address is under contract until 8/11/2018.** Copper handoff required. Vendor must extend demarc to Telecom Room per attached site map. Vendor must provide 4 Hour UPS to their switch. Vendor must provide 72 hours advanced notice for access.
DOLC3107 | Tara Olson | (360) 568-8836 | Barb's Auto Licensing, 510 2nd Street, Ste C, Snohomish, WA 98290-3027 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to with 10 ft of current connection per attached site map and per LCON - Vendor Must contact LCON at least 3 days prior to needed access.
DOLC3115 | Lisa Lacy | (360) 568-2122 | Bickford Motors, Inc., 3100 Bickford Avenue, Snohomish, WA 98290-1762 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to with 10 ft of current connection per attached site map and per LCON - Vendor Must contact LCON at least 3 days prior to needed access.
DSBYAK | Matt Sevigny | (509) 949-3547 | 509 506 South 40th Ave, Yakima, WA 98908 | 10mb | Olympia | Copper | n | 24 | New | 1 | 300 | 24.6 | 5000 | 410 |  | 0 | 0 |  | 10Gbps (CID# 2800-00) |  | 0 | 0 | 0 |  | 0 |  | Fiber | **The site is moving . The existing 10M at this site is under contract until 9/18/18. Vendor to extend DEMARC to with 10 ft of site router per LCON, Vendor Must contact LCON at least 3 days prior to needed access.
DOLC3130 | Chuck Whitfield | (360) 794-5678 | Whitfield's Auto Licensing, 19677 State Route 2, Ste 106, Monroe, WA 98272-1554 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | The existing 10M at this site is under contract until 5/29/17. Vendor to extend DEMARC to with 10 ft of current connection per attached site map and per LCON - Vendor Must contact LCON at least 3 days prior to needed access.
DSHS1032 | Dan Rockstrom | (509) 565-4150 | 850 Maple St, Medical Lake, WA 99022 | 100mb | 2200 M. Street NE, Quincy, WA 98848 | Copper | n | 12 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | ***This circuit must be terminated in Quincy. This site is a backup of site DSHS1033 located at 2320 S Salnave Rd, Hwy 902 & Salnave Rd, Medical Lake, WA - service currently provided by StarTouch (Sites 1032 and 1033 will be back-ups for each other and will have different redundant paths).*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS1032 | Dan Rockstrom | (509) 565-4150 | 850 Maple St, Medical Lake, WA 99022 | 100mb | 2200 M. Street NE, Quincy, WA 98848 | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | ***This circuit must be terminated in Quincy. This site is a backup of site DSHS1033 located at 2320 S Salnave Rd, Hwy 902 & Salnave Rd, Medical Lake, WA - service currently provided by StarTouch (Sites 1032 and 1033 will be back-ups for each other and will have different redundant paths).*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
ECYHQ | Matthew Higgins | (360) 407-6565 | 300 Desmond Drive, Room R01-18, Lacey, WA 98503-1274 | 1000mb (1Gb) | 2200 M. Street NE, Quincy, WA 98848 | Copper | n | 12 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | **This request is for a redundant connection from ECYHQ to the Quincy Data Center**. Copper Handoff Required. Vendor switch must be within 10 Feet of customer router, located in room R01-18. Vendor must provide 4 hour UPS backup for their equipment. Vendor must provide 72 hours advanced notice for access to site.
ECYHQ | Matthew Higgins | (360) 407-6565 | 300 Desmond Drive, Room R01-18, Lacey, WA 98503-1274 | 1000mb (1Gb) | 2200 M. Street NE, Quincy, WA 98848 | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | **This request is for a redundant connection from ECYHQ to the Quincy Data Center**. Copper Handoff Required. Vendor switch must be within 10 Feet of customer router, located in room R01-18. Vendor must provide 4 hour UPS backup for their equipment. Vendor must provide 72 hours advanced notice for access to site.
ECYHQ | Matthew Higgins | (360) 407-6565 | 300 Desmond Drive, Room R01-18, Lacey, WA 98503-1274 | 1000mb (1Gb) | 2200 M. Street NE, Quincy, WA 98848 | Copper | n | 36 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | **This request is for a redundant connection from ECYHQ to the Quincy Data Center**. Copper Handoff Required. Vendor switch must be within 10 Feet of customer router, located in room R01-18. Vendor must provide 4 hour UPS backup for their equipment. Vendor must provide 72 hours advanced notice for access to site.
ECYHQ | Matthew Higgins | (360) 407-6565 | 300 Desmond Drive, Room R01-18, Lacey, WA 98503-1274 | 10000mb (10Gb) | 2200 M. Street NE, Quincy, WA 98848 | Copper | n | 12 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | **This request is for a redundant connection from ECYHQ to the Quincy Data Center**. Copper Handoff Required. Vendor switch must be within 10 Feet of customer router, located in room R01-18. Vendor must provide 4 hour UPS backup for their equipment. Vendor must provide 72 hours advanced notice for access to site.
ECYHQ | Matthew Higgins | (360) 407-6565 | 300 Desmond Drive, Room R01-18, Lacey, WA 98503-1274 | 10000mb (10Gb) | 2200 M. Street NE, Quincy, WA 98848 | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | **This request is for a redundant connection from ECYHQ to the Quincy Data Center**. Copper Handoff Required. Vendor switch must be within 10 Feet of customer router, located in room R01-18. Vendor must provide 4 hour UPS backup for their equipment. Vendor must provide 72 hours advanced notice for access to site.
ECYHQ | Matthew Higgins | (360) 407-6565 | 300 Desmond Drive, Room R01-18, Lacey, WA 98503-1274 | 10000mb (10Gb) | 2200 M. Street NE, Quincy, WA 98848 | Copper | n | 36 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | **This request is for a redundant connection from ECYHQ to the Quincy Data Center**. Copper Handoff Required. Vendor switch must be within 10 Feet of customer router, located in room R01-18. Vendor must provide 4 hour UPS backup for their equipment. Vendor must provide 72 hours advanced notice for access to site.
BIIA3201 | Keith Fester | (360) 753-6823 X 1200 | Board of Industrial Insurance Appeals, 1311 N Washington St, Suite B, Spokane, WA 99201-5126 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to within 10 FT of customer router per attached site map and LCON - LCON is offsite - Vendor must contact LCON at least 2 days in advance of needed access
DOLC1520 | Barbara McNaughton | (360) 387-4700 | Camano Island Licensing, 811 N Sunrise Blvd, Suite D, Camano Island, WA 98282-8778 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to within 10 FT of customer router per attached site map and LCON - Vendor must contact LCON at least 2 days in advance of needed access
DOLC3728 | Kevin or Sue | (360) 332-7089 | Blaine Cost Cutter Licensing, 1733 H St, Suite 100, Blaine, WA 98230-5107 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to within 10 FT of customer router per attached site map and LCON - Vendor must contact LCON at least 2 days in advance of needed access
DOLC1501 | Sheilah Crider | (360) 240-5540 | Island County Auditor Auto License, 1 NE 7th St, Coupeville, WA 98239 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to within 10 FT of customer router per attached site map and LCON - Vendor must contact LCON at least 2 days in advance of needed access
DOLC1731 | Maurice | (425) 747-0444 | Bel-Red Auto License, 15600 NE 8th St, Suite K-16, Bellevue, WA 98008-3946 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | ** This site is currently under contract until May 2017** Vendor to extend DEMARC to within 10 ft of current connection per attached site map and Per LCON - Vendor must contact LCON at least 3 days prior to needed access.
DOLC1722 | Dick Franklin | (206) 463-2435 | International Development Services, Inc., 17602 99th Pl SW, Vashon, WA 98070 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to within 10 ft of current connection per attached site map and Per LCON - Vendor must contact LCON at least 3 days prior to needed access.
DOLC2714 | Sue Turpening | (253) 841-0245 | McCallum License Agency, Inc., 16126 Meridian E, Suite 107, Puyallup, WA 98375-7202 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to within 10 ft of current connection per attached site map and Per LCON - Vendor must contact LCON at least 3 days prior to needed access.
DOLC2717 | Don McCallum | (253) 845-8811 | McCallum License Agency, Inc., 1325 E Main, Puyallup, WA 98372-3136 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to within 10 ft of current connection per attached site map and Per LCON - Vendor must contact LCON at least 3 days prior to needed access.
DOLC2720 | Jill Beauchene | (253) 537-3112 | Parkland Auto Licensing, Inc., 215 Garfield St S, Suite 1A, Tacoma, WA 98444-5154 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to within 10 ft of current connection per attached site map and Per LCON - Vendor must contact LCON at least 3 days prior to needed access.
DOLC2725 | Nathon Smith | (360) 832-8366 | Thompsons License Agency, 320 Center St E, Suite # B, Eatonville, WA 98328 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to within 10 ft of current connection on 2nd floor per attached site map and Per LCON - Vendor must contact LCON at least 3 days prior to needed access.
DOLC2727 | Jim Austin | (253) 875-7732 | EZ Auto License & Title, 22225 Mountain Hwy E, Suite F, Spanaway, WA 98387-7556 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to within 10 ft of current connection per attached site map and Per LCON - Vendor must contact LCON at least 3 days prior to needed access.
DOLC2726 | Lindsey or Loreali | (253) 858-3773 | Peninsula License Agency, 3206 50th Street Ct NW, Suite A109, Gig Harbor, WA 98335-8568 | 10mb | Olympia | Copper | n | 24 | New | 1 | No Bid | No Bid | No Bid | No Bid |  | No Bid | No Bid |  | No Bid |  | No Bid | No Bid | No Bid |  | No Bid |  | No Bid | Vendor to extend DEMARC to within 10 ft of current connection per attached site map and Per LCON - Vendor must contact LCON at least 3 days prior to needed access.

## Grouped Pricing (hidden)
(CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Terminating Node Site (Section D3) | (CTS) Service Termination (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) Supplemental Work Order Term (Section D6) | (Vendor) Mandatory (Section D7) | (Vendor) Mandatory (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (CTS) (Section D11) | (Vendor) Mandatory (Section D12) | (Vendor) Mandatory (Section D13) | (CTS) (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) (Section D18) | (Vendor) Mandatory (Section D19)
Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes | Modified NRC | VLAN Charge (if applicable) | DMARC Cost (if applicable) | Modified DMARC | Size of Trunk- 1 or 10 gigabit (Node Site end) | Aggregation Trunk Charges | Other Charges (if applicable) | Modified Other | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper