## Individual Pricing
Site | Site Representative | Site Representative Contact Info | (CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Node Site (Section D3) | (CTS) Terminating Port Type (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) SWO Length (Section D6) | (CTS) Order New or Upgrade (Section D7) | (CTS) Total number of VLANs required (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (Vendor) Mandatory (Section D11) | (Vendor) Mandatory (Section D12) | (CTS) Modified NRC (Section D13) | (Vendor) Mandatory (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) Modified DMARC (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) Aggregation Trunk Charges (Section D18) | (Vendor) Mandatory (Section D19) | (Vendor) Mandatory (Section D20) | (Vendor) Mandatory (Section D21) | (CTS) Modified TLA Costs (Section D22) | (Vendor) Mandatory (Section D23) | (CTS) Modified Other (Section D24) | (Vendor) Mandatory (Section D25) | (CTS) Special Requirements (Section D26)
Customer Site name | Site Representative | Site Representative Contact Info | Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | Circuit Order (New Or Upgrade) | Total number of VLANs | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes |  | VLAN Charge | DMARC Cost |  | Size of Trunk- 1 or 10 gigabit (Node Site end) and Trunk Identifier |  | Existing Circuit End Date XX/XX/XXXX | Existing Circuit TLA (Cost) $XXX.XX | Waive TLA Cost (Y/N) |  | Other Charges |  | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper | Any non-standard requirements | Total
DOLT3101 | Bret Dana | (360) 280-0348 | DOL CDL Testing Site Everett, 3826 26th Place, Everett, WA 98201-3801 | 10mb | Olympia | Copper | n | 24 | New | 1 | 399 | 38.7 | 899 | 87.2 |  | N/A | N/A |  | 10G/OLYWESWS-10G-062016 |  | N/A | N/A | N/A |  | N/A |  | Copper/Ethernet | Vendor must reach out to contact in advance as he is not on site for any needed access - Vendor to extend DEMARC to LCON designated point within office
DOLT3701 | Bret Dana | (360) 280-0348 | DOL CDL Testing Site Tacoma, 982–A Thornton Ave SW, Pacific, WA 98047 | 10mb | Olympia | Copper | n | 24 | New | 1 | 369 | 36.53 | 899 | 89 |  | N/A | N/A |  | 10G/OLYWESWS-10G-062016 |  | N/A | N/A | N/A |  | N/A |  | Copper/Ethernet | Vendor must reach out to contact in advance as he is not on site for any needed access - Vendor to extend DEMARC to LCON designated point within office
DOLT1101 | Bret Dana | (360) 280-0348 | DOL CDL Testing Site Pasco, 414 E Lewis Pl, Pasco, WA 99301 | 10mb | Olympia | Copper | n | 24 | New | 1 | 299 | 25.71 | 299 | 25.71 |  | N/A | N/A |  | 10G/OLYWESWS-10G-062016 |  | N/A | N/A | N/A |  | N/A |  | Copper/Ethernet | Vendor must reach out to contact in advance as he is not on site for any needed access - Vendor to extend DEMARC to LCON designated point within office
ESD1710 | Chris Lattin | (360) 584-2266 | 2531 Rainier Ave S, Seattle, WA 98144-5328 | 100mb | Olympia | Copper | n | 12 | Upgrade | 1 | NO BID | [16 empty] | Copper Handoff Required. Vendor must extend circuit to LAN/PHONE Room per attached Site Map. Vendor must provide 4 Hour UPS for their device. Vendor must provide 72 hours advanced notice for access.
ESD1710 | Chris Lattin | (360) 584-2266 | 2531 Rainier Ave S, Seattle, WA 98144-5328 | 100mb | Olympia | Copper | n | 24 | Upgrade | 1 | NO BID | [16 empty] | Copper Handoff Required. Vendor must extend circuit to LAN/PHONE Room per attached Site Map. Vendor must provide 4 Hour UPS for their device. Vendor must provide 72 hours advanced notice for access.
ESD1710 | Chris Lattin | (360) 584-2266 | 2531 Rainier Ave S, Seattle, WA 98144-5328 | 100mb | Olympia | Copper | n | 36 | Upgrade | 1 | NO BID | [16 empty] | Copper Handoff Required. Vendor must extend circuit to LAN/PHONE Room per attached Site Map. Vendor must provide 4 Hour UPS for their device. Vendor must provide 72 hours advanced notice for access.
ESD2901 | Chris Lattin | (360) 584-2266 | 2005 E College Way, Floor 2, Mount Vernon, WA 98273-2310 | 100mb | Olympia | Copper | n | 12 | Upgrade | 1 | 669 | 58.2 | 699 | 58.2 |  | N/A | N/A |  | 10G/OLYWESWS-10G-062016 |  | N/A | N/A | N/A |  | N/A |  | Copper/Ethernet | Copper Handoff Required. Vendor must extend circuit to 2nd Floor LAN Room per attached images. Vendor must provide 4 Hour UPS for their device. Vendor must provide 72 hours advanced notice for access.
ESD2901 | Chris Lattin | (360) 584-2266 | 2005 E College Way, Floor 2, Mount Vernon, WA 98273-2310 | 100mb | Olympia | Copper | n | 24 | Upgrade | 1 | 629 | 54.72 | 699 | 58.2 |  | N/A | N/A |  | 10G/OLYWESWS-10G-062016 |  | N/A | N/A | N/A |  | N/A |  | Copper/Ethernet | Copper Handoff Required. Vendor must extend circuit to 2nd Floor LAN Room per attached images. Vendor must provide 4 Hour UPS for their device. Vendor must provide 72 hours advanced notice for access.
ESD2901 | Chris Lattin | (360) 584-2266 | 2005 E College Way, Floor 2, Mount Vernon, WA 98273-2310 | 100mb | Olympia | Copper | n | 36 | Upgrade | 1 | 605 | 52.64 | 699 | 58.2 |  | N/A | N/A |  | 10G/OLYWESWS-10G-062016 |  | N/A | N/A | N/A |  | N/A |  | Copper/Ethernet | Copper Handoff Required. Vendor must extend circuit to 2nd Floor LAN Room per attached images. Vendor must provide 4 Hour UPS for their device. Vendor must provide 72 hours advanced notice for access.
CNTY1101 | Liz Cupples | (509) 546-5820 | 1016 N 4th Ave, Pasco, WA 99301-3706 | 100mb | Olympia | Copper | n | 24 | New | 1 | 649 | 55.81 | 899 | 77.31 |  | N/A | N/A |  | 10G/OLYWESWS-10G-062016 |  | N/A | N/A | N/A |  | N/A |  | Copper/Ethernet | Vendor must reach out to contact in advance for any needed site access - Vendor to extend DEMARC to LCON designated point within the IS room. (see diagram). **Current circuit is under contract until June 2017**
DORSPO3201 | Jane Herring | (360) 596-3697 | 1330 N Washington Street, Spokane, WA 99201-2446 | 100Mb | Olympia | Copper | n | 12 | New | 1 | 699 | 61.51 | 799 | 70.31 |  | N/A | N/A |  | 10G/OLYWESWS-10G-062016 |  | N/A | N/A | N/A |  | N/A |  | Copper/Ethernet | Copper Handoff Required. Vendor must extend to telecom room per attached site map. Vendor must provide 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access.
DORSPO3201 | Jane Herring | (360) 596-3697 | 1330 N Washington Street, Spokane, WA 99201-2446 | 100Mb | Olympia | Copper | n | 24 | New | 1 | 619 | 54.47 | 799 | 70.31 |  | N/A | N/A |  | 10G/OLYWESWS-10G-062016 |  | N/A | N/A | N/A |  | N/A |  | Copper/Ethernet | Copper Handoff Required. Vendor must extend to telecom room per attached site map. Vendor must provide 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access.
ECYMTV | Matt Higgins | (360) 407-6565 | 10441 Bayview Edison Road, Mount Vernon, WA 98273-7242 | 100Mb | Olympia | Copper | n | 12 | New | 1 | 625 | 53.13 | 699 | 59.42 |  | N/A | N/A |  | 10G/OLYWESWS-10G-062016 |  | N/A | N/A | N/A |  | N/A |  | Copper/Ethernet | Copper Handoff Required. Vendor must extend to Data Room C107 per attached site map. Vendor must provide 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access. **Current circuit is under contract until September 2017**
ECYMTV | Matt Higgins | (360) 407-6565 | 10441 Bayview Edison Road, Mount Vernon, WA 98273-7242 | 100Mb | Olympia | Copper | n | 24 | New | 1 | 599 | 50.92 | 699 | 59.42 |  | N/A | N/A |  | 10G/OLYWESWS-10G-062016 |  | N/A | N/A | N/A |  | N/A |  | Copper/Ethernet | Copper Handoff Required. Vendor must extend to Data Room C107 per attached site map. Vendor must provide 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access. **Current circuit is under contract until September 2017**
DOCSPO8 | Josh LaBerge | (360) 725-8495 | 2116 E 1st Ave, Spokane, WA 99202-3146 | 10Mb | Olympia | Copper | n | 12 | New | 1 | NO BID | [16 empty] | Copper Handoff Required. Vendor must extend to Telco Closet (room 10) per attached site map. Vendor must provide 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access. **Current circuit is under contract until August 2017**
DOCSPO8 | Josh LaBerge | (360) 725-8495 | 2116 E 1st Ave, Spokane, WA 99202-3146 | 10Mb | Olympia | Copper | n | 24 | New | 1 | NO BID | [16 empty] | Copper Handoff Required. Vendor must extend to Telco Closet (room 10) per attached site map. Vendor must provide 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access. **Current circuit is under contract until August 2017**
DORBOT1705 | Jane Herring | (360) 596-3697 | 19801 North Creek Pkwy, Building C, Bothell, WA 98011-8240 | 100Mb | Olympia | Copper | n | 12 | New | 1 | NO BID | [16 empty] | Copper Handoff Required. Vendor must extend to Building C Telecom Room (labelled "d") per attached site map. Vendor must provide 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access. **Current circuit is under contract until July 2017**
DORBOT1705 | Jane Herring | (360) 596-3697 | 19801 North Creek Pkwy, Building C, Bothell, WA 98011-8240 | 100Mb | Olympia | Copper | n | 24 | New | 1 | NO BID | [16 empty] | Copper Handoff Required. Vendor must extend to Building C Telecom Room (labelled "d") per attached site map. Vendor must provide 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access. **Current circuit is under contract until July 2017**
DORTAC2701 | Jane Herring | (360) 596-3697 | 3315 S 23rd Street, Floor 3, Tacoma, WA 98405-1605 | 100Mb | Olympia | Copper | n | 12 | New | 1 | NO BID | [16 empty] | Copper Handoff Required. Vendor must extend to 3rd Floor IDF per attached site map. Vendor must provide 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access. **Current circuit is under contract until July 2017**
DORTAC2701 | Jane Herring | (360) 596-3697 | 3315 S 23rd Street, Floor 3, Tacoma, WA 98405-1605 | 100Mb | Olympia | Copper | n | 24 | New | 1 | NO BID | [16 empty] | Copper Handoff Required. Vendor must extend to 3rd Floor IDF per attached site map. Vendor must provide 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access. **Current circuit is under contract until July 2017**
ECYBFO | Matthew Higgins | (360) 407-6565 | 913 Squalicum Way, Suite 101, Bellingham, WA 98225 | 100Mb | Olympia | Copper | n | 12 | New | 1 | NO BID | [16 empty] | Copper Handoff Required. Vendor must extend to 1st floor server room (room 119) per attached site map. Vendor must provide 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access. Beneficial Occupancy is scheduled for 11/1/17, with live occupancy scheduled for 12/1/17. Vendors will need to support a live circuit date of NO LATER THAN 11/1/17.
ECYBFO | Matthew Higgins | (360) 407-6565 | 913 Squalicum Way, Suite 101, Bellingham, WA 98225 | 100Mb | Olympia | Copper | n | 24 | New | 1 | NO BID | [16 empty] | Copper Handoff Required. Vendor must extend to 1st floor server room (room 119) per attached site map. Vendor must provide 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access. Beneficial Occupancy is scheduled for 11/1/17, with live occupancy scheduled for 12/1/17. Vendors will need to support a live circuit date of NO LATER THAN 11/1/17.
ECYBFO | Matthew Higgins | (360) 407-6565 | 913 Squalicum Way, Suite 101, Bellingham, WA 98225 | 100Mb | Olympia | Copper | n | 36 | New | 1 | NO BID | [16 empty] | Copper Handoff Required. Vendor must extend to 1st floor server room (room 119) per attached site map. Vendor must provide 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access. Beneficial Occupancy is scheduled for 11/1/17, with live occupancy scheduled for 12/1/17. Vendors will need to support a live circuit date of NO LATER THAN 11/1/17.
BIIASEA | Keith Fester | (360) 753-6823 ext. 1200 | 2815 2nd Ave, Suite 550, Seattle, WA 98121-1266 | 100Mb | Olympia | Copper | n | 24 | Upgrade | 1 | 999 | 100.9 | 1495 | 151 |  | N/A | N/A |  | 10G/OLYWESWS-10G-062016 |  | N/A | N/A | N/A |  | N/A |  | Copper/Ethernet | ** Site currently under contract until Sept. 2017 ** Vendor to extend DEMARC per attached site map. Vendor must provide 72 hours advanced notice for site access.

## Grouped Pricing (hidden)
(CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Terminating Node Site (Section D3) | (CTS) Service Termination (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) Supplemental Work Order Term (Section D6) | (Vendor) Mandatory (Section D7) | (Vendor) Mandatory (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (CTS) (Section D11) | (Vendor) Mandatory (Section D12) | (Vendor) Mandatory (Section D13) | (CTS) (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) (Section D18) | (Vendor) Mandatory (Section D19)
Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes | Modified NRC | VLAN Charge (if applicable) | DMARC Cost (if applicable) | Modified DMARC | Size of Trunk- 1 or 10 gigabit (Node Site end) | Aggregation Trunk Charges | Other Charges (if applicable) | Modified Other | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper