## Individual Pricing
Site | Site Representative | Site Representative Contact Info | (CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Node Site (Section D3) | (CTS) Terminating Port Type (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) SWO Length (Section D6) | (CTS) Order New or Upgrade (Section D7) | (CTS) Total number of VLANs required (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (Vendor) Mandatory (Section D11) | (Vendor) Mandatory (Section D12) | (CTS) Modified NRC (Section D13) | (Vendor) Mandatory (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) Modified DMARC (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) Aggregation Trunk Charges (Section D18) | (Vendor) Mandatory (Section D19) | (Vendor) Mandatory (Section D20) | (Vendor) Mandatory (Section D21) | (CTS) Modified TLA Costs (Section D22) | (Vendor) Mandatory (Section D23) | (CTS) Modified Other (Section D24) | (Vendor) Mandatory (Section D25) | (CTS) Special Requirements (Section D26)
Customer Site name | Site Representative | Site Representative Contact Info | Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | Circuit Order (New Or Upgrade) | Total number of VLANs | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes |  | VLAN Charge | DMARC Cost |  | Size of Trunk- 1 or 10 gigabit (Node Site end) and Trunk Identifier |  | Existing Circuit End Date XX/XX/XXXX | Existing Circuit TLA (Cost) $XXX.XX | Waive TLA Cost (Y/N) |  | Other Charges |  | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper | Any non-standard requirements | Total
CNTY3101 | Kirk Copple | (425) 388-3211 | 3016 Oakes Ave, Everett, WA 98201 | 100mb | Olympia | Copper | n | 24 | New | 1 | [17 empty] | Vendor must reach out to contact in advance for any needed site access - Vendor to extend Demarc to LCON designated point within building.
DOLC1822 | Jim or Barbara Svenson | (360) 692-2293 | Silverdale Auto License, Inc., 9080 Silverdale Way NW, Suite 102, Silverdale, WA 98383-8398 | 10mb | Olympia | Copper | n | 24 | New | 1 | 376 | 0 | 24940 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Vendor to extend Demarc to with in 10 FT of DOL router per attached site map and per LCON - Vendor must call for access at least 3 days prior to needed access
DSHS5010 | Stacey Gifford | (253) 381-2879 | 201 W Main St, 2nd Floor, Puyallup, WA 98371-5327 | 100mb | Olympia | Copper | n | 12 | New | 1 | 376 | 0 | 24940 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002573 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 100M at this site is under contract until 9/17/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. Demarc Details: 2nd floor Demarc, NW side of the building, by the telecom room - no room #. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS5010 | Stacey Gifford | (253) 381-2879 | 201 W Main St, 2nd Floor, Puyallup, WA 98371-5327 | 100mb | Olympia | Copper | n | 24 | New | 1 | 376 | 0 | 24940 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002574 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 100M at this site is under contract until 9/17/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. Demarc Details: 2nd floor Demarc, NW side of the building, by the telecom room - no room #. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS5010 | Stacey Gifford | (253) 381-2879 | 201 W Main St, 2nd Floor, Puyallup, WA 98371-5327 | 1000mb (1G) | Olympia | Copper | n | 12 | New | 1 | 376 | 0 | 24940 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002575 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 100M at this site is under contract until 9/17/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. Demarc Details: 2nd floor Demarc, NW side of the building, by the telecom room - no room #. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS5010 | Stacey Gifford | (253) 381-2879 | 201 W Main St, 2nd Floor, Puyallup, WA 98371-5327 | 1000mb (1G) | Olympia | Copper | n | 24 | New | 1 | 376 | 0 | 24940 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002576 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 100M at this site is under contract until 9/17/17*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. Demarc Details: 2nd floor Demarc, NW side of the building, by the telecom room - no room #. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DOLC1823 | Aubrey Osborne | (360) 479-4793 | Kitsap Auto Licensing, 3850 Kitsap Way, Suite 103, Bremerton, WA 98312-2463 | 10mb | Olympia | Copper | n | 24 | New | 1 | 376 | 0 | 21940 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Vendor to extend Demarc to with in 10 FT of DOL router per attached site map and per LCON - Vendor must call for access at least 3 days prior to needed access
DOLC1403 | Angie Messmer | (360) 533-4333 | Hoquiam License Agency, 2616 Sumner Ave, Aberdeen, WA 98520-4319 | 10mb | Olympia | Copper | n | 24 | New | 1 | 290 | 0 | 1515 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Vendor to extend Demarc to with in 10 FT of DOL router per attached site map and per LCON - Vendor must call for access at least 3 days prior to needed access.
ESD1301 | Chris Lattin | (360) 407-4429 | 309 E 5th Ave, Moses Lake, WA 98837-1778 | 100mb | Olympia | Copper | n | 12 | New | 1 | 1195 | 0 | 650 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to Room 132 per attached site map.
ESD1301 | Chris Lattin | (360) 407-4429 | 309 E 5th Ave, Moses Lake, WA 98837-1778 | 100mb | Olympia | Copper | n | 24 | New | 1 | 1195 | 0 | 650 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to Room 132 per attached site map.
ESD1301 | Chris Lattin | (360) 407-4429 | 309 E 5th Ave, Moses Lake, WA 98837-1778 | 100mb | Olympia | Copper | n | 36 | New | 1 | 1173 | 0 | 425 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to Room 132 per attached site map.
DORBOT1704 | Jane Herring | (360) 596-3697 | 19800 North Creek Pkwy, Bothell WA 98011-8206 | 100mb | Olympia | Copper | n | 12 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002582 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to telecom room (1047) per attached site map.
DORBOT1704 | Jane Herring | (360) 596-3697 | 19800 North Creek Pkwy, Bothell WA 98011-8206 | 100mb | Olympia | Copper | n | 24 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002583 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to telecom room (1047) per attached site map.
DORBOT1704 | Jane Herring | (360) 596-3697 | 19800 North Creek Pkwy, Bothell WA 98011-8206 | 100mb | Olympia | Copper | n | 36 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002584 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to telecom room (1047) per attached site map.
DORBOT1704 | Jane Herring | (360) 596-3697 | 19800 North Creek Pkwy, Bothell WA 98011-8206 | 1000mb (1G) | Olympia | Copper | n | 12 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002585 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to telecom room (1047) per attached site map.
DORBOT1704 | Jane Herring | (360) 596-3697 | 19800 North Creek Pkwy, Bothell WA 98011-8206 | 1000mb (1G) | Olympia | Copper | n | 24 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002586 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to telecom room (1047) per attached site map.
DORBOT1704 | Jane Herring | (360) 596-3697 | 19800 North Creek Pkwy, Bothell WA 98011-8206 | 1000mb (1G) | Olympia | Copper | n | 36 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002587 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to telecom room (1047) per attached site map.
DORPTA0501 | Jane Herring | (360) 596-3697 | 734 E 1st Street, Port Angeles, WA 98362-3630 | 100mb | Olympia | Copper | n | 12 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002588 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to telecom room (d) per attached site map.
DORPTA0501 | Jane Herring | (360) 596-3697 | 734 E 1st Street, Port Angeles, WA 98362-3630 | 100mb | Olympia | Copper | n | 24 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002589 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to telecom room (d) per attached site map.
DORPTA0501 | Jane Herring | (360) 596-3697 | 734 E 1st Street, Port Angeles, WA 98362-3630 | 100mb | Olympia | Copper | n | 36 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002590 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to telecom room (d) per attached site map.
DOLD1713 | Shannon Kanis | (425) 670-8376 | NORTH SEATTLE LSO, 18551 Aurora Ave N, Shoreline, WA 98133-3992 | 10mb | Olympia | Copper | n | 12 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002591 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Vendor to extend Demarc to with in 10 FT of DOL router per attached site map and per LCON - Vendor must call for access at least 3 days prior to needed access.
DOLD1713 | Shannon Kanis | (425) 670-8376 | NORTH SEATTLE LSO, 18551 Aurora Ave N, Shoreline, WA 98133-3992 | 10mb | Olympia | Copper | n | 24 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002592 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Vendor to extend Demarc to with in 10 FT of DOL router per attached site map and per LCON - Vendor must call for access at least 3 days prior to needed access.
DORBEL3701 | Jane Herring | (360) 596-3697 | 1904 Humboldt Street, Bellingham, WA 98225-4244 | 100mb | Olympia | Copper | n | 12 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002593 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 100M at this site is under contract until 9/16/17*** Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to LAN IDF per attached site map.
DORBEL3701 | Jane Herring | (360) 596-3697 | 1904 Humboldt Street, Bellingham, WA 98225-4244 | 100mb | Olympia | Copper | n | 24 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002594 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 100M at this site is under contract until 9/16/17*** Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to LAN IDF per attached site map.
DORBEL3701 | Jane Herring | (360) 596-3697 | 1904 Humboldt Street, Bellingham, WA 98225-4244 | 100mb | Olympia | Copper | n | 36 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002595 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 100M at this site is under contract until 9/16/17*** Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to LAN IDF per attached site map.
DOLD0503 | Tamara Keller | (360)457-8887 | 228 W 1st Street, Suite M, Port Angeles, WA 98362-2641 | 10mb | Olympia | Copper | n | 24 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002596 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Vendor to extend Demarc to with in 10 FT of DOL router per attached site map and per LCON - Vendor must call for access at least 3 days prior to needed access
DORSEA1701 | Jane Herring | (360) 596-3697 | 2101 4th Ave, Suite 1400, Seattle, WA 98121-2379 | 100mb | Olympia | Copper | n | 12 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002597 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to Telecom Closet per attached site map.
DORSEA1701 | Jane Herring | (360) 596-3697 | 2101 4th Ave, Suite 1400, Seattle, WA 98121-2379 | 100mb | Olympia | Copper | n | 24 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002598 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to Telecom Closet per attached site map.
DORSEA1701 | Jane Herring | (360) 596-3697 | 2101 4th Ave, Suite 1400, Seattle, WA 98121-2379 | 100mb | Olympia | Copper | n | 36 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002599 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to Telecom Closet per attached site map.
DOLD1705 | Louise | (253) 872-6019 | 25410 74th Ave S, Kent, WA 98032-6011 | 10mb | Olympia | Copper | n | 24 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002600 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 9/24/17*** Vendor to extend Demarc to with in 10 FT of DOL router per attached site map and per LCON - Vendor must call for access at least 3 days prior to needed access.
DOLD1602 | Chelise | (360) 379-5053 | 2300 S Park Ave, Port Townsend, WA 98368-2275 | 10mb | Olympia | Copper | n | 24 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002601 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 9/30/17*** Vendor to extend Demarc to with in 10 FT of DOL router per attached site map and per LCON - Vendor must call for access at least 3 days prior to needed access.
DOLD1709 | Derek Mau | (206) 464-6846 | 205 Spring St, Seattle, WA 98104-1173 | 10mb | Olympia | Copper | n | 24 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002602 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 9/29/17*** Vendor to extend Demarc to with in 10 FT of DOL router per attached site map and per LCON - Vendor must call for access at least 3 days prior to needed access.
DOLD2704 | Kerne Thomas | (253) 593-2990 | 6402 S Yakima Ave, Suite C, Tacoma, WA 98408-4514 | 10mb | Olympia | Copper | n | 24 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002603 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 8/20/17*** Vendor to extend Demarc to with in 10 FT of DOL router per attached site map and per LCON - Vendor must call for access at least 3 days prior to needed access.
DOLD6701 | Tony | (206)706-4265 | 320 N 85th St, Seattle, WA 98103-3606 | 10mb | Olympia | Copper | n | 12 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002604 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Vendor to extend Demarc to with in 10 FT of DOL router per attached site map and per LCON - Vendor must call for access at least 3 days prior to needed access
DOLD6701 | Tony | (206)706-4265 | 320 N 85th St, Seattle, WA 98103-3606 | 10mb | Olympia | Copper | n | 24 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002605 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Vendor to extend Demarc to with in 10 FT of DOL router per attached site map and per LCON - Vendor must call for access at least 3 days prior to needed access.
DOLC2312 | Troy Jasmin (Computer Creations) | (800) 791-4856 | North Mason Chamber of Commerce, 30 NE Romance Hill Rd, Suite 103, Belfair, WA 98528-8316 | 10mb | Olympia | Copper | n | 24 | New | 1 | 474 | 0 | 100 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Vendor to extend Demarc to with in 10 FT of DOL router per attached site map and per LCON - Vendor must call for access at least 3 days prior to needed access.
DORRCH0301 | Jane Herring | (360) 596-3697 | 1657 Fowler Street, Richland, WA 99352-4700 | 10mb | Olympia | Copper | n | 12 | New | 1 | 390 | 0 | 1790 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to Telecom room per attached site map.
DORRCH0301 | Jane Herring | (360) 596-3697 | 1657 Fowler Street, Richland, WA 99352-4700 | 10mb | Olympia | Copper | n | 24 | New | 1 | 370 | 0 | 1700 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to Telecom room per attached site map.
DORRCH0301 | Jane Herring | (360) 596-3697 | 1657 Fowler Street, Richland, WA 99352-4700 | 10mb | Olympia | Copper | n | 36 | New | 1 | 350 | 0 | 1605 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to Telecom room per attached site map.
DORRCH0301 | Jane Herring | (360) 596-3697 | 1657 Fowler Street, Richland, WA 99352-4700 | 100mb | Olympia | Copper | n | 12 | New | 1 | 795 | 0 | 700 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to Telecom room per attached site map.
DORRCH0301 | Jane Herring | (360) 596-3697 | 1657 Fowler Street, Richland, WA 99352-4700 | 100mb | Olympia | Copper | n | 24 | New | 1 | 780 | 0 | 600 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to Telecom room per attached site map.
DORRCH0301 | Jane Herring | (360) 596-3697 | 1657 Fowler Street, Richland, WA 99352-4700 | 100mb | Olympia | Copper | n | 36 | New | 1 | 765 | 0 | 500 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to Telecom room per attached site map.
DORYAK3901 | Jane Herring | (360) 596-3697 | 3703 River Road, Suite 3, Yakima, WA 98902-7325 | 100mb | Olympia | Copper | n | 12 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002613 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to Telecom room per attached site map.
DORYAK3901 | Jane Herring | (360) 596-3697 | 3703 River Road, Suite 3, Yakima, WA 98902-7325 | 100mb | Olympia | Copper | n | 24 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002614 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to Telecom room per attached site map.
DORYAK3901 | Jane Herring | (360) 596-3697 | 3703 River Road, Suite 3, Yakima, WA 98902-7325 | 100mb | Olympia | Copper | n | 36 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002615 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend Demarc to Telecom room per attached site map.
DOCBLF1 | Josh LaBerge | (360) 725-8495 | 3420 NE Sand Hill Road, Belfair, WA 98528-9007 | 10mb | Olympia | Copper | n | 12 | New | 1 | 479 | 0 | 390 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 8/26/17*** Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend to basement Demarc per attached site map.
DOCBLF1 | Josh LaBerge | (360) 725-8495 | 3420 NE Sand Hill Road, Belfair, WA 98528-9007 | 10mb | Olympia | Copper | n | 24 | New | 1 | 469 | 0 | 275 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 8/26/17*** Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend to basement Demarc per attached site map.
DOCBLF1 | Josh LaBerge | (360) 725-8495 | 3420 NE Sand Hill Road, Belfair, WA 98528-9007 | 10mb | Olympia | Copper | n | 36 | New | 1 | 459 | 0 | 155 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 8/26/17*** Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend to basement Demarc per attached site map.
DOCBLF1 | Josh LaBerge | (360) 725-8495 | 3420 NE Sand Hill Road, Belfair, WA 98528-9007 | 100mb | Olympia | Copper | n | 12 | Upgrade | 1 | 1120 | 0 | 750 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 8/26/17*** Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend to basement Demarc per attached site map.
DOCBLF1 | Josh LaBerge | (360) 725-8495 | 3420 NE Sand Hill Road, Belfair, WA 98528-9007 | 100mb | Olympia | Copper | n | 24 | Upgrade | 1 | 1072 | 0 | 600 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 8/26/17*** Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend to basement Demarc per attached site map.
DOCBLF1 | Josh LaBerge | (360) 725-8495 | 3420 NE Sand Hill Road, Belfair, WA 98528-9007 | 100mb | Olympia | Copper | n | 36 | Upgrade | 1 | 1020 | 0 | 525 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 8/26/17*** Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend to basement Demarc per attached site map.
DFWWAL | Jeremiah Parker | (360) 902-2342 | 1340 N 13th Ave, Walla Walla, WA 99362-1066 | 10mb | Olympia | Copper | n | 12 | New | 1 | 245 | 0 | 1540 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend to TEL/DATA Closet per attached site map.
DFWWAL | Jeremiah Parker | (360) 902-2342 | 1340 N 13th Ave, Walla Walla, WA 99362-1066 | 10mb | Olympia | Copper | n | 24 | New | 1 | 225 | 0 | 1475 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend to TEL/DATA Closet per attached site map.
DFWWAL | Jeremiah Parker | (360) 902-2342 | 1340 N 13th Ave, Walla Walla, WA 99362-1066 | 10mb | Olympia | Copper | n | 36 | New | 1 | 195 | 0 | 1405 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend to TEL/DATA Closet per attached site map.
DOCTUM4 | Tami Rettke | (360) 407-5783 | 1550 Irving Street SW, Suite 301, Tumwater, WA 98512-6362 | 10mb | Olympia | Copper | n | 12 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002625 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend to Telecom Room per attached site map.
DOCTUM4 | Tami Rettke | (360) 407-5783 | 1550 Irving Street SW, Suite 301, Tumwater, WA 98512-6362 | 10mb | Olympia | Copper | n | 24 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002626 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend to Telecom Room per attached site map.
DOCTUM4 | Tami Rettke | (360) 407-5783 | 1550 Irving Street SW, Suite 301, Tumwater, WA 98512-6362 | 10mb | Olympia | Copper | n | 36 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002627 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper handoff required. Vendor must provide 72 hours advanced notice for access. Vendor must provide 4 hour UPS to their equipment. Vendor to extend to Telecom Room per attached site map.
LNISQM | Jerry Swenson | (360) 902-5993 | 540 W Washington Street, Sequim, WA 98382-3279 | 10mb | Olympia | Copper | n | 12 | New | 1 | 425 | 0 | 4500 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper Handoff Required. Vendor must provide 4 hour UPS for their equipment. Circuit must be extended to LAN Room per attached site map. Vendor must provide LCON with 72 hours advanced notice for site access.
LNISQM | Jerry Swenson | (360) 902-5993 | 540 W Washington Street, Sequim, WA 98382-3279 | 10mb | Olympia | Copper | n | 24 | New | 1 | 410 | 0 | 4350 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper Handoff Required. Vendor must provide 4 hour UPS for their equipment. Circuit must be extended to LAN Room per attached site map. Vendor must provide LCON with 72 hours advanced notice for site access.
LNISQM | Jerry Swenson | (360) 902-5993 | 540 W Washington Street, Sequim, WA 98382-3279 | 10mb | Olympia | Copper | n | 36 | New | 1 | 395 | 0 | 4195 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper Handoff Required. Vendor must provide 4 hour UPS for their equipment. Circuit must be extended to LAN Room per attached site map. Vendor must provide LCON with 72 hours advanced notice for site access.
LNISQM | Jerry Swenson | (360) 902-5993 | 540 W Washington Street, Sequim, WA 98382-3279 | 100mb | Olympia | Copper | n | 12 | New | 1 | 870 | 0 | 1700 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper Handoff Required. Vendor must provide 4 hour UPS for their equipment. Circuit must be extended to LAN Room per attached site map. Vendor must provide LCON with 72 hours advanced notice for site access.
LNISQM | Jerry Swenson | (360) 902-5993 | 540 W Washington Street, Sequim, WA 98382-3279 | 100mb | Olympia | Copper | n | 24 | New | 1 | 865 | 0 | 1600 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper Handoff Required. Vendor must provide 4 hour UPS for their equipment. Circuit must be extended to LAN Room per attached site map. Vendor must provide LCON with 72 hours advanced notice for site access.
LNISQM | Jerry Swenson | (360) 902-5993 | 540 W Washington Street, Sequim, WA 98382-3279 | 100mb | Olympia | Copper | n | 36 | New | 1 | 840 | 0 | 1500 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Copper Handoff Required. Vendor must provide 4 hour UPS for their equipment. Circuit must be extended to LAN Room per attached site map. Vendor must provide LCON with 72 hours advanced notice for site access.
DSHS4025 | Raymond Williams | (360) 391-6012 | 101 S King Street, Seattle, WA 98104-3115 | 10mb | Olympia | Copper | n | 12 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002634 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***This new circuit will be used as a backup circuit for this critical site. The new circuit must be designed and delivered on completely separate network, infrastructure, and equipment from the existing primary circuit provider (CenturyLink).*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. Demarc Details: LAN Room, refer to LCON for instructions. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS4025 | Raymond Williams | (360) 391-6012 | 101 S King Street, Seattle, WA 98104-3115 | 10mb | Olympia | Copper | n | 24 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002635 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***This new circuit will be used as a backup circuit for this critical site. The new circuit must be designed and delivered on completely separate network, infrastructure, and equipment from the existing primary circuit provider (CenturyLink).*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. Demarc Details: LAN Room, refer to LCON for instructions. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS4025 | Raymond Williams | (360) 391-6012 | 101 S King Street, Seattle, WA 98104-3115 | 100mb | Olympia | Copper | n | 12 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002636 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***This new circuit will be used as a backup circuit for this critical site. The new circuit must be designed and delivered on completely separate network, infrastructure, and equipment from the existing primary circuit provider (CenturyLink).*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. Demarc Details: LAN Room, refer to LCON for instructions. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS4025 | Raymond Williams | (360) 391-6012 | 101 S King Street, Seattle, WA 98104-3115 | 100mb | Olympia | Copper | n | 24 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002637 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***This new circuit will be used as a backup circuit for this critical site. The new circuit must be designed and delivered on completely separate network, infrastructure, and equipment from the existing primary circuit provider (CenturyLink).*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. Demarc Details: LAN Room, refer to LCON for instructions. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS4025 | Raymond Williams | (360) 391-6012 | 101 S King Street, Seattle, WA 98104-3115 | 1000mb (1G) | Olympia | Copper | n | 12 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002638 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***This new circuit will be used as a secondary/backup circuit for this site. The new circuit must be delivered on a diverse path and provided by a different vendor from the existing primary vendor (CenturyLink).*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. Demarc Details: LAN Room, refer to LCON for instructions. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS4025 | Raymond Williams | (360) 391-6012 | 101 S King Street, Seattle, WA 98104-3115 | 1000mb (1G) | Olympia | Copper | n | 24 | New | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002639 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***This new circuit will be used as a backup circuit for this critical site. The new circuit must be designed and delivered on completely separate network, infrastructure, and equipment from the existing primary circuit provider (CenturyLink).*** Copper handoff required. Vendor switch must be within 10ft of the customer router. Demarc extend requested. Demarc Details: LAN Room, refer to LCON for instructions. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
ESD3902 | Chris Lattin | (360) 584-2266 | 1925 Morgan Rd, Sunnyside, WA 98944-4809 | 100mb | Olympia | Copper | n | 12 | Upgrade | 1 | 1190 | 0 | 55100 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | **The existing 10M circuit at this site is under contract until 7/28/2017** Copper Handoff Required. Vendor must extend circuit to LAN Room (Existing) per attached Site Map. Vendor must provide 4 Hour UPS for their device. Vendor must provide 72 hours advanced notice for access.
ESD3902 | Chris Lattin | (360) 584-2266 | 1925 Morgan Rd, Sunnyside, WA 98944-4809 | 100mb | Olympia | Copper | n | 24 | Upgrade | 1 | 1175 | 0 | 54500 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | **The existing 10M circuit at this site is under contract until 7/28/2017** Copper Handoff Required. Vendor must extend circuit to LAN Room (Existing) per attached Site Map. Vendor must provide 4 Hour UPS for their device. Vendor must provide 72 hours advanced notice for access.
ESD3902 | Chris Lattin | (360) 584-2266 | 1925 Morgan Rd, Sunnyside, WA 98944-4809 | 100mb | Olympia | Copper | n | 36 | Upgrade | 1 | 1160 | 0 | 53910 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 7/28/2017** Copper Handoff Required. Vendor must extend circuit to LAN Room (Existing) per attached Site Map. Vendor must provide 4 Hour UPS for their device. Vendor must provide 72 hours advanced notice for access.
DOLD3104 | Heather | (360) 653-1545 | 3704 172nd St NE, Space K1, Smokey Point, WA 98223-6336 | 10mb | Olympia | Copper | n | 24 | Upgrade | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002643 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Vendor must extend circuit to within 10 ft of DOL router per attached Site Map and LCON . Vendor must contact LCON at least 3 days prior notice for access.
DOLD7701 | Don Smith | (253) 536-6221 | 2502 112th St E, Ste 200 -Closet #167, Parkland, WA 98445-5104 | 10mb | Olympia | Copper | n | 24 | Upgrade | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002644 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 7/31/2017** Vendor must extend circuit to within 10 ft of DOL router per attached Site Map and LCON (this is not the current location of the current circuit). Vendor must contact LCON at least 3 days prior notice for access.
DOLD0603 | Jackie | (360) 260-6122 | 9609 NE 117th Ave, Bldg 27 Ste 2730, Vancouver, WA 98662-2405 | 10mb | Olympia | Copper | n | 24 | Upgrade | 1 | 930 | 0 | 850 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Vendor must extend circuit to within 10 ft of DOL router per attached Site Map and LCON. Vendor must contact LCON at least 3 days prior notice for access.
DOCTAC3 | Josh LaBerge | (360) 725-8495 | 1305 Tacoma Ave S, Tacoma, WA 98424-1903 | 1000mb (1G) | Olympia | Copper | n | 12 | Upgrade | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002646 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Upgrade Request. ***The existing 100M circuit is under contract until 6/5/2018.*** Copper Handoff Required. Vendor must extend to DOC IT Room. Vendor must provide 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access.
DOCTAC3 | Josh LaBerge | (360) 725-8495 | 1305 Tacoma Ave S, Tacoma, WA 98424-1903 | 1000mb (1G) | Olympia | Copper | n | 24 | Upgrade | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002647 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | Upgrade Request. ***The existing 100M circuit is under contract until 6/5/2018.*** Copper Handoff Required. Vendor must extend to DOC IT Room. Vendor must provide 4 hour UPS for their equipment. Vendor must provide 72 hours advanced notice for site access.
DSHS1038 | Debbie Keller | (509) 725-4040 | 450 Logan St, Courthouse 3rd Floor, Davenport, WA 99122-5184 | 100mb | Olympia | Copper | n | 12 | Upgrade | 1 | 825 | 0 | 250 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 6/27/2019*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Demarc Details: LAN Room, Courthouse 3rd floor. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS1038 | Debbie Keller | (509) 725-4040 | 450 Logan St, Courthouse 3rd Floor, Davenport, WA 99122-5184 | 100mb | Olympia | Copper | n | 24 | Upgrade | 1 | 800 | 0 | 0 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 6/27/2019*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Demarc Details: LAN Room, Courthouse 3rd floor. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS1074 | Dan Torhjelm | (509) 363-4711 | 956 S Main St, Ste B, Colville, WA 99114-2505 | 100mb | Olympia | Copper | n | 12 | Upgrade | 1 | 1125 | 0 | 1650 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 5/28/20*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Demarc Details: LAN Room, Suite B. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS1074 | Dan Torhjelm | (509) 363-4711 | 956 S Main St, Ste B, Colville, WA 99114-2505 | 100mb | Olympia | Copper | n | 24 | Upgrade | 1 | 1100 | 0 | 1580 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 5/28/2020*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Demarc Details: LAN Room, Suite B. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS2002 | Jack Perard | (509) 830-4150 | 7200 W Nob Hill Blvd, Ste 12, Meadowbrook Mall, Yakima, WA 98908-1928 | 100mb | Olympia | Copper | n | 12 | Upgrade | 1 | 1755 | 0 | 800 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 6/21/2018*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Demarc Details: Meadowbrook Mall, LAN Room - Suite 12. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS2002 | Jack Perard | (509) 830-4150 | 7200 W Nob Hill Blvd, Ste 12, Meadowbrook Mall, Yakima, WA 98908-1928 | 100mb | Olympia | Copper | n | 24 | Upgrade | 1 | 1729 | 0 | 600 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 6/21/18*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Demarc Details: Meadowbrook Mall, LAN Room - Suite 12. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS2008 | Harlan Hame | (509) 839-7213 | 2010 Yakima Valley Hwy, Ste 4, Block G, Mid Valley Mall, Sunnyside, WA 98944-1289 | 100mb | Olympia | Copper | n | 12 | Upgrade | 1 | 1225 | 0 | 54500 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 6/27/2018*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Demarc Details: LAN Room - Suite 4, Block G, Mid Valley Mall. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS2008 | Harlan Hame | (509) 839-7213 | 2010 Yakima Valley Hwy, Ste 4, Block G, Mid Valley Mall, Sunnyside, WA 98944-1289 | 100mb | Olympia | Copper | n | 24 | Upgrade | 1 | 1190 | 0 | 53580 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 6/27/18*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Demarc Details: LAN Room - Suite 4, Block G, Mid Valley Mall. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS2008 | Harlan Hame | (509) 839-7213 | 2010 Yakima Valley Hwy, Ste 4, Block G, Mid Valley Mall, Sunnyside, WA 98944-1289 | 1000mb (1G) | Olympia | Copper | n | 12 | Upgrade | 1 | 3110 | 0 | 46250 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 6/27/18*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Demarc Details: LAN Room - Suite 4, Block G, Mid Valley Mall. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS2008 | Harlan Hame | (509) 839-7213 | 2010 Yakima Valley Hwy, Ste 4, Block G, Mid Valley Mall, Sunnyside, WA 98944-1289 | 1000mb (1G) | Olympia | Copper | n | 24 | Upgrade | 1 | 3050 | 0 | 45000 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 6/27/2018*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Demarc Details: LAN Room - Suite 4, Block G, Mid Valley Mall. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS2033 | Glenn Moller | (509) 225-6587 | 315 Holton Ave, Ste 200, 2nd Floor, Yakima, WA 98902-3240 | 100mb | Olympia | Copper | n | 12 | Upgrade | 1 | 1755 | 0 | 800 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 7/29/19*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Demarc Details: LAN Room, 2nd Floor, Suite 200. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS2033 | Glenn Moller | (509) 225-6587 | 315 Holton Ave, Ste 200, 2nd Floor, Yakima, WA 98902-3240 | 100mb | Olympia | Copper | n | 24 | Upgrade | 1 | 1729 | 0 | 600 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 7/29/19*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Demarc Details: LAN Room, 2nd Floor, Suite 200. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS2059 | Jack Perard | (509) 965-0105 | 1710 S 24th Ave, Yakima, WA 98902-5767 | 100mb | Olympia | Copper | n | 12 | Upgrade | 1 | 1755 | 0 | 800 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 6/21/2018*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Demarc Details: LAN Room, Bldg 1710. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS2059 | Jack Perard | (509) 965-0105 | 1710 S 24th Ave, Yakima, WA 98902-5767 | 100mb | Olympia | Copper | n | 24 | Upgrade | 1 | 1729 | 0 | 600 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 6/21/2018*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Demarc Details: LAN Room, Bldg 1710. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DVA1701 | James Chapin | (360) 584-5685 | 2106 2nd Ave, Seattle, WA 98121 | 1000mb (1G) | Olympia | Copper | n | 12 | Upgrade | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002662 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 100M circuit at this site is under contract until 4/22/18*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Demarc Details: Telco closet, 1st floor, Bldg 2106. Refer to (3) attached pictures. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DVA1701 | James Chapin | (360) 584-5685 | 2106 2nd Ave, Seattle, WA 98121 | 1000mb (1G) | Olympia | Copper | n | 24 | Upgrade | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002663 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 100M circuit at this site is under contract until 4/22/18*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Demarc Details: Telco closet, 1st floor, Bldg 2106. Refer to (3) attached pictures. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS4043 | Paul Reed Heather Sacha | (253) 617-6250 (253) 617-6323 / (253) 617-8926 | 132 S Spokane St, Seattle, WA 98134-2221 | 100mb | Olympia | Copper | n | 12 | Upgrade | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002664 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 9/25/2019*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS4043 | Paul Reed Heather Sacha | (253) 617-6250 (253) 617-6323 / (253) 617-8926 | 132 S Spokane St, Seattle, WA 98134-2221 | 100mb | Olympia | Copper | n | 24 | Upgrade | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002665 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M at this site is under contract until 9/25/2019*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS5004 | Pat Bockelman | (360) 829-3078 | 2120 Ryan Road, Buckley, WA 98321-9115 | 1000mb (1G) | Olympia | Copper | n | 12 | Upgrade | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002666 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 100M circuit at this site is under contract until 12/18/2018*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS5004 | Pat Bockelman | (360) 829-3078 | 2120 Ryan Road, Buckley, WA 98321-9115 | 1000mb (1G) | Olympia | Copper | n | 24 | Upgrade | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002667 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 100M circuit at this site is under contract until 12/18/2018*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6005 | James McNamara | (360) 489-5987 | 421 5th Ave, Forks, WA 98331-9100 | 100mb | Olympia | Copper | n | 12 | Upgrade | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002668 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 5/21/2020*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6005 | James McNamara | (360) 489-5987 | 421 5th Ave, Forks, WA 98331-9100 | 100mb | Olympia | Copper | n | 24 | Upgrade | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002669 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 5/21/2020*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6053 | Robin Walters | (360) 628-3847 | 205 S Columbus Ave, Courthouse, Goldendale, WA 98620-9279 | 100mb | Olympia | Copper | n | 12 | Upgrade | 1 | 1168 | 0 | 450 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 5/9/2019*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6053 | Robin Walters | (360) 628-3847 | 205 S Columbus Ave, Courthouse, Goldendale, WA 98620-9279 | 100mb | Olympia | Copper | n | 24 | Upgrade | 1 | 1143 | 0 | 250 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 5/9/2019*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6057 | Maria Koury-Corvall | (360) 538-2442 | 915 Sheridan St, Port Townsend, WA 98368-2931 | 100mb | Olympia | Copper | n | 12 | Upgrade | 1 | 745 | 0 | 700 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 10/30/2019*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6057 | Maria Koury-Corvall | (360) 538-2442 | 915 Sheridan St, Port Townsend, WA 98368-2931 | 100mb | Olympia | Copper | n | 24 | Upgrade | 1 | 720 | 0 | 500 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 10/30/2019*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6106 | Robin Walters | (360) 628-3847 | 800 Franklin St, Ste 100, Vancouver, WA 98660-3076 | 100mb | Olympia | Copper | n | 12 | Upgrade | 1 | 2480 | 0 | 800 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 4/24/2019*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Demarc Details: Suite 100. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6106 | Robin Walters | (360) 628-3847 | 800 Franklin St, Ste 100, Vancouver, WA 98660-3076 | 100mb | Olympia | Copper | n | 24 | Upgrade | 1 | 2433 | 0 | 600 | 0 |  | 0 | 0 |  | 10G Trunk at SDC circuit ID SDC/SDC/ETH27002572 |  | n/a | 0 | n/a |  | 0 |  | Fiber with Copper (Cat5e) handoff | ***The existing 10M circuit at this site is under contract until 4/24/2019*** Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Demarc Details: Suite 100. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6124 | James McNamara | (360) 489-5987 | Sophie Trettevick Indian Health Center, 250 Fort St, Neah Bay, WA 98357 | 10mb | Olympia | Copper | n | 12 | New | 1 | [17 empty] | Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6124 | James McNamara | (360) 489-5987 | Sophie Trettevick Indian Health Center, 250 Fort St, Neah Bay, WA 98357 | 10mb | Olympia | Copper | n | 24 | New | 1 | [17 empty] | Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6124 | James McNamara | (360) 489-5987 | Sophie Trettevick Indian Health Center, 250 Fort St, Neah Bay, WA 98357 | 100mb | Olympia | Copper | n | 12 | New | 1 | [17 empty] | Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.
DSHS6124 | James McNamara | (360) 489-5987 | Sophie Trettevick Indian Health Center, 250 Fort St, Neah Bay, WA 98357 | 100mb | Olympia | Copper | n | 24 | New | 1 | [17 empty] | Copper handoff required. Vendor switch must be within 10 ft of the customer router. Demarc extend requested. Vendor must provide UPS to their switch. Vendor and/or their contractors must contact the site contact at least 24 hrs prior to site access.

## Grouped Pricing (hidden)
(CTS) Customer Service Address (Section D1) | (CTS) Requested Bandwidth (Section D2) | (CTS) Terminating Node Site (Section D3) | (CTS) Service Termination (Section D4) | (CTS) E-Rate Eligible (Section D5) | (CTS) Supplemental Work Order Term (Section D6) | (Vendor) Mandatory (Section D7) | (Vendor) Mandatory (Section D8) | (Vendor) Mandatory (Section D9) | (Vendor) Mandatory (Section D10) | (CTS) (Section D11) | (Vendor) Mandatory (Section D12) | (Vendor) Mandatory (Section D13) | (CTS) (Section D14) | (Vendor) Mandatory (Section D15) | (CTS) (Section D16) | (Vendor) Mandatory (Section D17) | (CTS) (Section D18) | (Vendor) Mandatory (Section D19)
Site Address | 10 or 100 megabit circuit? | Terminating Node Site | Service Termination at customer site(Handoff): Fiber or Copper | E-Rate (y or n) | Supplemental Work Order Term (no. of months) | MRC Cost | MRC ApplicableTaxes | NRC Cost | NRC ApplicableTaxes | Modified NRC | VLAN Charge (if applicable) | DMARC Cost (if applicable) | Modified DMARC | Size of Trunk- 1 or 10 gigabit (Node Site end) | Aggregation Trunk Charges | Other Charges (if applicable) | Modified Other | Proposed Service Delivery to customer site: Fiber or Ethernet over Copper