## New
Evaluation Model for Solicitation Number N20-RFQ-055
| CTS to Complete | [9 empty] | Vendor to Complete
[8 empty] | Scoring | [6 empty] | Supplemental Bandwidth Examples (M) See Section 4 of the RFQ |  | Evaluation Values
| Site Name | Site Address | Site Contact(s) | Service to terminate to this location: | Floor Map Included (Y/N) | Guaranteed Install Interval (days) | Initial Proposed Bandwidth | Timeline Points | Cost Points | Special Mandatory Requirements- (such as special term length, E-rate site, background check needed, optical handoff type, diverse path, site survey required, etc.) | (MS) If Vendor can commit to a shorter Install Interval, please state the number of days. | (M) Local loop type to the site address (fiber, copper, or fixed wireless) | (MS) MRC | (MS) NRC | MRC (100M) | MRC (1G) | Timeline | Cost | Timeline Points | Cost Points
1 | Example1234 | 1500 Lincoln Ave SW Olympia, WA 98504 | Mr. John Doe 360-555-1234 email@email.com | 2nd Floor, NE Corner, utility closet next to room 224 | YES | 120 | 10M | 10 | 90 | 1. The Vendor shall: | 20 | Fiber | 500 | 1000 | 1000 | 1800 | 20 | 13000 | 10 | 90
2 | ECYNWRO | 15700 Dayton Ave Shoreline, WA 98133-5910 | David Burling 360-407-7636 davb461@ecy.wa.gov Site contact: Susan Winters 253-649-7011 swin461@ecy.wa.gov | Per attached site map | YES | 120 | 100M | 5 | 95 | This building is occupied by WSDOT and under construction. Shoreline building manager is Andy Blomberg, contact Andy for access to the building at blomberg@wsdot.wa.gov | 119 | Fiber | 899 | 750 |  | 1599 | 119 | 22326 | 5 | 95
3 | PE-SSD3901/DSHS2008 | 2010 Yakima Valley Hwy, Suite 4, Block G Sunnyside, WA 98944-1289 | Ruth Kezar 509-865-7540 Cell: 509-494-9511 kezarr@dshs.wa.gov; Building Contact: Brandon Bailey 916-281-7928 | Suite 4, Block G, Bldg 2010. Circuit handoff to be located no further than 10 feet of DSHS Router. Refer to LCON for details on circuit termination location. | NO | 150 | 100M | 5 | 95 |  | 149 | Fiber | 999 | 1750 |  | 1899 | 149 | 25726 | 5 | 95
4 | VE-SSD3901/DSHS2008 | 2010 Yakima Valley Hwy, Suite 4, Block G Sunnyside, WA 98944-1289 | Ruth Kezar 509-865-7540 Cell: 509-494-9511 kezarr@dshs.wa.gov; Building Contact: Brandon Bailey 916-281-7928 | Suite 4, Block G, Bldg 2010. Circuit handoff to be located no further than 10 feet of DSHS Router. Refer to LCON for details on circuit termination location. | NO | 150 | 100M | 5 | 95 | This is a multi-port / multi-vlan request. 1) Vendor to deliver 2 ports / 2 vlans - one vlan per port. 2) CTS / WaTech will assign vlan numbers on Tech Order. 3) Vendor to clearly label their handoff device at the end site, with the CTS / WaTech provided site name. 4) building telco to provide the vlan to port assignment details with the completion notice. For example - vlan A on port 1, vlan B on port 2, etc. 5) building telco to provide an aggregate circuit at the bandwidth specified in this RFQ. CTS / WaTech will police and shape the traffic for each vlan. | 149 | Fiber | 1499 | 1750 |  | 1899 | 149 | 37726 | 5 | 95
5 | DOCMON1 | Monroe Correctional Complex(MCC) 16702 - 177th Ave. SE Monroe, WA 98272-1968 | Cheryl Bancroft 360-794-2324 cmbancroft@doc1.wa.gov | In the IT Comm building outside of the prison shown on sitemap | YES | 150 | 10M | 5 | 95 | This is a redundant / diverse circuit for this site, to support high availability. Existing circuit is provided by Comcast. Proposed solution must not utilize Comcast. |  |  | nb | 0 |  |  | 150 | #VALUE! | 5 | 95
6 | DOCLRK1 | Cedar Creek Correctional Center 12200 Bordeaux Rd Littlerock, WA 98556 | Mark Mosebach 360-449-7658 memosebach@doc1.w.agov | LCON to provide location for Ethernet handoff | NO | 150 | 10M | 5 | 95 | This is a redundant / diverse circuit for this site, to support high availability. Existing circuit is provided by StarTouch. Proposed solution must not utilize StarTouch. |  |  | nb | 0 |  |  | 150 | #VALUE! | 5 | 95
7 | DSHS1086 | 739 Haussler Road, Suite A & B Omak, WA 98841-9547 | Liz Knigge 360-902-7531 kniggel@dshs.wa.gov | LAN Room, Suite A & B. Circuit handoff to be located no further than 10 feet of DSHS Router. Refer to the LCON for building contact information. This is an AAA Facility. | NO | 150 | 100M | 5 | 95 |  |  |  | nb | 0 |  |  | 150 | #VALUE! | 5 | 95
8 | DSHS1087 | 1336 Pioneer Way Moses Lake, WA 98837-4622 | Liz Knigge 360-902-7531 kniggel@dshs.wa.gov | LAN Room, Bldg 1336. Circuit handoff to be located no further than 10 feet of DSHS Router. Refer to the LCON for building contact information. This is an AAA Facility. | NO | 150 | 100M | 5 | 95 |  |  |  | nb | 0 |  |  | 150 | #VALUE! | 5 | 95
9 | DSHS2074 | 6909 Crosswind Blvd Kennewick, WA 99336-7848 | Liz Knigge 360-902-7531 kniggel@dshs.wa.gov; Building contact: Nelson Advisors, Michael Nelson 425-269-3331 | First floor, LAN room, Rack 1 per attached drawing/Site Map. Circuit handoff to be located no further than 10 feet of DSHS Router. Coordinate exact rack placement with site contact. | YES | 150 | 100M | 5 | 95 |  |  |  | nb | 0 |  |  | 150 | #VALUE! | 5 | 95
10 | DORSPO3201 | 1330 N Washington Street Spokane, WA. 99201-2446 | George Dewan 509-327-0257 Georged@dor.wa.gov; Agency contact: Lorraine Louderback 360-596-3699 lorraine.louderback@dor.wa.gov, or Tristan Ward 360-596-3695 TristanW@DOR.WA.GOV; Building contact: John Gavin 509-325-8432, 509-290-8740 | Extend demarc. Circuit handoff needs to terminate in DOR IT room 503 per attached Site/Floor Map. Both LCON and Agency contacts must be contacted on all site visits. | YES | 150 | 100M | 5 | 95 | Existing circuit is provided by StarTouch. Proposed solution must not utilize StarTouch. | 149 | Fiber | 899 | 750 |  | 1599 | 149 | 22326 | 5 | 95
11 | ACAFTL911DC2 | 4101 West Way Joint Base Lewis-McChord, WA 98433 | Daniel Carroll 253-967-1276 daniel.b.carroll2.civ@mail.mil Site Contact: Mr. Jeffrey Rodeman 253-967-1031 Jeffrey.c.rodeman.civ@mail.mil Building contact: 911 Supervisor 253-912-4442/4446 | Room 113 | NO | 150 | 10M | 5 | 95 | The Building has its own fiber Demark located in room 113 within 10 feet of the final location. We intend the circuit to be fiber to the building and converted to Cat-5/6 at final hand off. |  |  | nb | 0 |  |  | 150 | #VALUE! | 5 | 95
12 | ACAFTL911DC2 | 4101 West Way Joint Base Lewis-McChord, WA 98433 | Daniel Carroll 253-967-1276 daniel.b.carroll2.civ@mail.mil Site Contact: Mr. Jeffrey Rodeman 253-967-1031 Jeffrey.c.rodeman.civ@mail.mil Building contact: 911 Supervisor 253-912-4442/4446 | Room 113 | NO | 150 | 100M | 5 | 95 | The Building has its own fiber Demark located in room 113 within 10 feet of the final location. We intend the circuit to be fiber to the building and converted to Cat-5/6 at final hand off. |  |  | nb | 0 |  |  | 150 | #VALUE! | 5 | 95
13 | DSHS2022 | 609 Speyers Road Selah, WA 98942-1050 | Liz Knigge 360-902-7531 kniggel@dshs.wa.gov; Building contact: John Muircroft 509-698-1266 | LAN Room, Bldg 609. Coordinate exact rack placement with site contact. Vendor hand-off to be located no further than 10 cable feet from DSHS Router. | NO | 150 | 100M | 25 | 75 | This request is for a redundant / diverse circuit for this site. Existing circuit is provided by StarTouch. Proposed solution must be Wireline Ethernet, and not utilize StarTouch. |  |  | nb | 0 |  |  | 150 | #VALUE! | 25 | 75
14 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
15 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
16 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
17 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
18 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
19 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
20 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
21 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
22 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
23 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
24 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
25 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
26 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
27 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
28 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
29 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only