## New
Evaluation Model for Solicitation Number N21-RFQ-016
| CTS to Complete | [9 empty] | Vendor to Complete
[8 empty] | Scoring | [6 empty] | Supplemental Bandwidth Examples (M) See Section 4 of the RFQ |  | Evaluation Values
| Site Name | Site Address | Site Contact(s) | Service to terminate to this location: | Floor Map Included (Y/N) | Guaranteed Install Interval (days) | Initial Proposed Bandwidth | Timeline Points | Cost Points | Special Mandatory Requirements- (such as special term length, E-rate site, background check needed, optical handoff type, diverse path, site survey required, etc.) | (MS) If Vendor can commit to a shorter Install Interval, please state the number of days. | (M) Local loop type to the site address (fiber, copper, or fixed wireless) | (MS) MRC | (MS) NRC | MRC (100M) | MRC (1G) | Timeline | Cost | Timeline Points | Cost Points
1 | Example1234 | 1500 Lincoln Ave SW Olympia, WA 98504 | Mr. John Doe 360-555-1234 email@email.com | Install extended handoff per attached site map (DOLC0518 Floor plan.pdf) | YES | 120 | 10M | 10 | 90 | 1. The Vendor shall: | 20 | Fiber | 500 | 1000 | 1000 | 1800 | 20 | 13000 | 10 | 90
2 | VE-CBY0501/DOCCBY1/LTS | 1830 Eagle Crest Way Clallam Bay, WA 98326-9724 | LCON: Chad Fletcher 360-963-1416 cafletcher@doc1.wa.gov Facility Contacts: Eddie Reetz Facilities Manager Clallam Bay Corrections Center 360-203-1264 Wayne Pederson, RCDD/PM DOC Capital Planning, Senior Project Manager 360-480-9270 | MDF near rooms 1160 and 1161. Install extended handoff per attached site map (DOCCBY1 - Site Map .pdf) | YES | 150 | 1000M (1G) | 5 | 95 | This is a multi-port / multi-vlan request. 1. Vendor to deliver 2 ports / 2 vlans - one vlan per port. 2. CTS / WaTech will assign vlan numbers on Tech Order. 3. Vendor to clearly label their handoff device at the end site, with the CTS / WaTech provided site name. 4. Vendor to provide the vlan to port assignment details with the completion notice. For example - vlan A on port 1, vlan B on port 2, etc. 5. Vendor to provide an aggregate circuit at the bandwidth specified in this RFQ. CTS / WaTech will police and shape the traffic for each vlan. Site Restrictions: 1. The existing conduit is for DOC Systems, not for Outside Vendors use. 2. DOC does not approve any equipment put on the flat roofs with cinderblocks holding them down. 3. DOC's position is not to allow conduit placement on top of DOCCBY1 'Clallam Bay Corrections Center' roof. 4. Attachments to the building structures require an Engineered design that will need to be approved by the Capital Planning and Development section of DOC. Bid responses should not include the StarTouch network. |  |  |  | 0 |  | N/A | 150 | 0 | 5 | 95
3 | PE-CBY0501/DOCCBY1/LTS | 1830 Eagle Crest Way Clallam Bay, WA 98326-9724 | LCON: Chad Fletcher 360-963-1416 cafletcher@doc1.wa.gov Facility Contacts: Eddie Reetz Facilities Manager Clallam Bay Corrections Center 360-203-1264 Wayne Pederson, RCDD/PM DOC Capital Planning, Senior Project Manager 360-480-9270 | MDF near rooms 1160 and 1161. Install extended handoff per attached site map (DOCCBY1 - Site Map.pdf) | YES | 150 | 1000M (1G) | 5 | 95 | Site Restrictions: 1. The existing conduit is for DOC Systems, not for Outside Vendors use. 2. DOC does not approve any equipment put on the flat roofs with cinderblocks holding them down. 3. DOC's position is not to allow conduit placement on top of DOCCBY1 'Clallam Bay Corrections Center' roof. 4. Attachments to the building structures require an Engineered design that will need to be approved by the Capital Planning and Development section of DOC. Site has additional access requirements Bid responses should not include the StarTouch network. |  |  |  | 0 |  | N/A | 150 | 0 | 5 | 95
4 | PE-SEA1718 / OCI1701 / HUMSEA | 810 3RD AVE. 6th floor Suites 640-650 SEATTLE, WA 98104-1655 | Sureau, Stephen (OIC) 360 725-7068 StephenS@oic.wa.gov | Install extended handoff within 10 ft of current router per LCON and per attached site map. Install extended handoff per attached site map (PE-SEA1718-OIC1701 office layout.pdf) | YES | 150 | 100M | 5 | 95 |  | 145 | Fiber | 799 | 350 | N/A | 1300 | 145 | 19526 | 5 | 95
5 | VE-SEA1718 / OIC1701 / HUMSEA | 810 3RD AVE. 6th floor Suites 640-650 SEATTLE, WA 98104-1655 | Sureau, Stephen (OIC) 360 725-7068 StephenS@oic.wa.gov | Install extended handoff within 10 ft of current router per LCON and per attached site map. Install extended handoff per attached site map (PE-SEA1718-OIC1701 office layout.pdf) | YES | 150 | 100M | 5 | 95 | This is a multi-port / multi-vlan request. 1) Vendor to deliver 2 ports / 2 VLANs - one VLAN per port. 2) CTS / WaTech will assign VLAN numbers on Tech Order. 3) Vendor to clearly label their handoff device at the end site, with the CTS / WaTech provided site name. 4) Vendor Telco to provide the VLAN to port assignment details with the completion notice. For example - VLAN A on port 1, vlan B on port 2, etc. 5) Vendor Telco to provide an aggregate circuit at the bandwidth specified in this RFQ. CTS / WaTech will police and shape the traffic for each VLAN. | 145 | Fiber | 899 | 350 | N/A | 1599 | 145 | 21926 | 5 | 95
6 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
7 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
8 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
9 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
10 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
11 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
12 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
13 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
14 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
15 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
16 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
17 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
18 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
19 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
20 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
21 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
22 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
23 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
24 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
25 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
26 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
27 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
28 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0
29 | [13 empty] | 0 |  |  | 0 | 0 | 0 | 0

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only